## Yrly OneTime
Beginning of Year Special (Janaury 14)
type |  |  | Health Metric Total Coliform Pres/Abs 1. Screening Test | HACH E. Coli Pres/Abs with MUG 1. Screening Test | HACH m-FecalColiform Agar [CFU/100mL] | HACH mBlue Total Coliform [CFU or MPN /100mL] | HACH mBlue E. Coli [CFU or MPN /100mL] | Hardness (YSI Kit) | Hardness (Health Metric) | Alkalinity (YSI Kit) | Alkalinity (Health Metric) | Nitrate (YSI Colorimeter) | Nitrate (Health Metric) | Nitrite (Health Metric) | Iron (YSI Colorimeter) | Copper (YSI Colorimeter) | Sulfate (YSI Colorimeter) | Manganese (Health Metric) | Hydrogen Sulfide (Health Metric)
WQ Standard |  |  |  |  | < 1 Drinking Water <235 full body cont | < 4 blue and red | < 1 red only | 0 - 60 mg/L soft 60 - 120 mod hard 120 - 180 very hard | 0 - 60 mg/L soft 60 - 120 mod hard 120 - 180 very hard | should be between 20 - 200 mg/L | should be between 20 - 200 mg/L | < 10 mg/L as Nitrate-N <45 mg/L as Nitrate NO3 | < 10 mg/L as Nitrate-N <45 mg/L as Nitrate NO3 | < 1.0 mg/L as Nitrate-N | < 0.3 mg/L | < 2.5 mg/L | < 250 mg/L | < 0.05 mg/L | [mg/L or ppm] 0 - 1 musty 1 - 2 rotten egg < 10 in general
well No | 1 | Rue Levandiere | y | y / E-Coli present | TNTC 2 | not available | not available | 322 | 425 | 360 | 500 | 4.2 | 0 | 0 | <0.02 | 0.56 | 59 | 0 | 0
sous No
well No | 2 | Beloc/Lavaud | y | y / E-Coli present | TNTC 2 | not available | not available | 332 | 425 | 480 | 500 | 0.9 | 0 | 0 | 0.11 | 0.24 | 9 | 0 | 0
sous No
well No | 3 | Petit Harpon | y | y / E-Coli present | TNTC 3 | not available | not available | 216 | 425 | 380 | 500 | < 0.2 | 0 | 0 | <.02 | 0.16 | 50 | 0.02 | 0
sous No
well No | 4 | Carrefur Dufort
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | y | y / E-Coli present | TNTC 1 | not available | not available | 368 | 1000 | 372 | 500 | < 0.2 | 0 | 0 | <0.02 | 0.26 | 7 | 0 | 0
sous No
well No | 7 | Rte Darbonne | y | y / E-Coli present | TNTC 2 | not available | not available | 150 | 180 | 184 | 120 | < 0.2 | 0 | 0 | <0.02 | 0.1 | <2 | 0 | 0
sous No
well No | 8 | Rte Belvald | y | y / E-Coli present | TNTC 1 | not available | not available | 260 | 250 | 276 | 240 | < 0.2 | 0 | 0 | 0.33 | 0.14 | 11
sous No
well No | 9 | Rte De Bire | y | y / E-Coli present | TNTC 1 | not available | not available | 168 | 250 | 176 | 240 | < 0.2 | 0 | 0 | 0.22 | 0.18 | <2 | 0 | 0
sous No | [19 empty] | gb
well No | 10 | Douane | y | y / E-Coli present | TNTC 2 | not available | not available | 196 | 250 | 200 | 240 | < 0.2 | 0 | 0 | < 0.02 | < .04 | < 2 | 0 | 0
sous No
well No | 11 | Sigueneau | y | y / E-Coli present | TNTC 2 | not available | not available | 200 | 250 | 192 | 240 | < 0.2 | 0 | 0 | < 0.02 | < 0.04 | < 2 | 0 | 0
sous No

## JAN
Janvier |  |  | 2020-01-01 | [8 empty] | 2020-01-11 | [8 empty] | 2020-01-18 | [8 empty] | 2020-01-25
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 100 | 21.1 | 764.1 | 2.1 | 1.27 | 871 | 0.66 | 7.33 | 159.3 | 104 | 27.2 | 761.8 | 3.1 | 1.28 | 832 | 0.63 | 7.66 | 129.8 | 105 | 26.7 | 763.7 | 1.5 | 1.24 | 806 | 0.71 | 7.69 | 176.9 | 100 | 26.8 | 761.4 | 1.4 | 1.22 | 793 | 0.6 | 7.72 | 90.8
sous No
well No | 2 | Beloc/Lavaud | [9 empty] | 79.25 | 26 | 765.4 | 0.5 | 1.16 | 754 | 0.57 | 7.72 | 147.2 | 78 | 26 | 764.6 | 4.1 | 1.19 | 773.5 | 0.59 | 7.64 | 145.8 | 79 | 25.9 | 762.1 | 0.6 | 1.41 | 910 | 0.7 | 7.54 | 36.9
sous No
well No | 3 | Petit Harpon | [9 empty] | 251 | 27.1 | 764.4 | 3.1 | 1.19 | 773.5 | 0.59 | 8.12 | 138.3 | 250 | 26.8 | 763.8 | 2.3 | 1.19 | 772.5 | 0.59 | 7.93 | 169.4 | 253 | 24.6 | 761.5 | 2.6 | 1.22 | 786.5 | 0.6 | 8.23 | 47.6
sous No
well No | 4 | Carrefur Dufort
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | [9 empty] | 152 | 27.4 | 763.8 | 4.9 | 0.94 | 611 | 0.46 | 7.85 | 152.6 | 149 | 27.3 | 763.3 | 4.4 | 0.94 | 611 | 0.46 | 7.86 | 183.4 | 149 | 27.4 | 760.9 | 4.3 | 0.444 | 288.6 | 0.21 | 9.28 | 56.5
sous No
well No | 7 | Rte Darbonne | [9 empty] | 486 | 27.1 | 763.1 | 4.6 | 0.56 | 364 | 0.27 | 7,80 | 155.3 | 494 | 27.1 | 761.1 | 4.1 | 0.55 | 357.5 | 0.26 | 7.68 | 181.9 | 494 | 27.1 | 758.2 | 5.1 | 0.55 | 357.5 | 0.26 | 7.88 | 102.1
sous No
well No | 8 | Rte Belvald | [9 empty] | 92 | 26.9 | 762.7 | 3 | 0.7 | 455 | 0.34 | 7.86 | 141.1 | 90 | 25 | 762.6 | 3.4 | 0.69 | 448.5 | 0.34 | 8.06 | 168 | 86 | 25.4 | 760.2 | 3.7 | 0.71 | 461.5 | 0.34 | 8.09 | 60.2
sous No
well No | 9 | Rte De Bire | [9 empty] | 195 | 27.6 | 762.9 | 4.5 | 0.436 | 283.4 | 0.21 | 7.82 | 148.1 | 198 | 27.3 | 762.8 | 3.4 | 0.43 | 279.5 | 0.2 | 7.9 | 174 | 194 | 27.3 | 759.6 | 4.1 | 0.53 | 344.5 | 0.26 | 8.09 | 96.3
sous No | [38 empty] | gb
well No | 10 | Douane | [9 empty] | 498 | 27.2 | 762.5 | 4.5 | 0.54 | 367.5 | 0.26 | 762 | 165.5 | 502 | 27.6 | 762.2 | 4.2 | 0.54 | 351 | 0.26 | 7.84 | 182.5 | 525 | 27.9 | 758.8 | 6.3 | 0.53 | 344.5 | 0.25 | 8.19 | 91.2
sous No
well No | 11 | Sigueneau | [9 empty] | 587 | 27.1 | 762.4 | 4.6 | 0.57 | 370.5 | 0.27 | 7.6 | 162.1 | 589 | 25.3 | 762 | 5 | 0.57 | 370.5 | 0.28 | 7.88 | 181.9 | 592 | 27.3 | 758.6 | 6 | 0.57 | 370.5 | 0.28 | 8.05 | 87.6
sous No

## FEV
Fevriye |  |  | 2020-02-01 | [8 empty] | 2020-02-08 | [8 empty] | 2020-02-15 | [8 empty] | 2020-02-22 | [8 empty] | 2020-02-29
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 104 | 28.5 | 762.1 | 1.2 | 1.23 | 790.5 | 0.5 | 7.6 | 90.5 | 106 | 26.7 | 754.5 | 1.6 | 1.2 | 780 | 0.59 | 7.74 | 78.2 | 107 | 26.8 | 763 | 1.7 | 1.19 | 773.5 | 0.59 | 7.74 | 72.2 | 105 | 27 | 661.9 | 2.1 | 1.17 | 760.5 | 0.58 | 7.83 | 72.6 | 107 | 27.2 | 763.6 | 1.6 | 1.17 | 760.5 | 0.58 | 7.65 | 92.4
sous No
well No | 2 | Beloc/Lavaud | 74 | 28.3 | 760.1 | 0.5 | 1.4 | 910 | 0.8 | 7.3 | 35.6 | 77 | 25.9 | 764.4 | 0.3 | 1.36 | 890.5 | 0.68 | 7.66 | 7.6 | 81 | 26.2 | 763.3 | 0.8 | 1.38 | 845 | 0.67 | 7.61 | 10.7 | 80 | 26.5 | 762.4 | 0.7 | 1.28 | 832 | 0.64 | 7.56 | 22.7 | 81 | 26.5 | 764 | 0.9 | 1.48 | 955.5 | 0.72 | 7.58 | 33.3
sous No
well No | 3 | Petit Harpon | 253 | 25.1 | 761.3 | 2.5 | 1.2 | 785.6 | 0.5 | 8.2 | 47.4 | 259 | 26.5 | 764.1 | 2.6 | 1.33 | 877.6 | 0.68 | 7.96 | 56.6 | 261 | 26.9 | 762.7 | 2.1 | 1.25 | 819 | 0.62 | 7.94 | 49.8 | 260 | 27 | 761.9 | 2.1 | 1.22 | 793 | 0.6 | 8 | 50.5 | 268 | 27.4 | 763.3 | 2.1 | 1.28 | 832 | 0.63 | 7.98 | 59.5
sous No
well No | 4 | Carrefur Dufort | [27 empty] | 262 | 28.3 | 758.8 | 3.1 | 0.81 | 526.5 | 0.39 | 7.75 | 82.7 | 263 | 28.2 | 731.6 | 3 | 0.83 | 539.5 | 0.4 | 7.8 | 69.8
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 150 | 27.5 | 760.5 | 4.2 | 0.44 | 288.5 | 0.22 | 9.25 | 154.5 | 154 | 26.9 | 763.8 | 4.6 | 0.99 | 643.5 | 0.48 | 7.87 | 69.6 | 152 | 27.3 | 762.4 | 3.9 | 0.97 | 630.5 | 0.47 | 7.81 | 64.7 | 155 | 27.8 | 761.3 | 3.2 | 0.58 | 377 | 0.28 | 8.36 | 53.1 | 156 | 27.7 | 762.9 | 3.8 | 0.87 | 565.5 | 0.42 | 7.86 | 73.2
sous No
well No | 7 | Rte Darbonne | 494 | 27 | 758 | 5.2 | 0.52 | 357.2 | 0.24 | 7.8 | 102 | 493 | [8 empty] | 493 | [8 empty] | 493 | [8 empty] | 493
sous No
well No | 8 | Rte Belvald | 85 | 25.2 | 760 | 3.5 | 0.71 | 460.5 | 0.31 | 8.5 | 85.1 | 95 | 25.5 | 764.7 | 3.1 | 0.71 | 461.5 | 0.34 | 8.04 | 76.1 | 93 | 26.1 | 763.2 | 2.9 | 0.7 | 448.5 | 0.34 | 8.05 | 66.8 | 92 | 26.1 | 762.1 | 4.1 | 0.69 | 448.5 | 0.33 | 8.1 | 70.2 | 95 | 26.8 | 763.5 | 3.5 | 0.68 | 442 | 0.33 | 8.12 | 77
sous No
well No | 9 | Rte De Bire | 194 | 27.1 | 759.3 | 3.6 | 0.51 | 341.5 | 0.25 | 8.05 | 96.1 | 199 | 26.7 | 764.2 | 5.2 | 0.437 | 284.05 | 0.21 | 8.18 | 79.2 | 203 | 27.1 | 762,4 | 4.6 | 0.434 | 282.1 | 0.21 | 7.92 | 78.2 | 204 | 27.3 | 761.4 | 3.8 | 0.431 | 280.15 | 0.2 | 8.02 | 76.9 | 206 | 27.4 | 763.2 | 4.2 | 0.437 | 284.05 | 0.21 | 8.14 | 103.5
sous No
well No | 10 | Douane | 526 | 27.8 | 758.5 | 6.2 | 0.51 | 344.5 | 0.24 | 8.15 | 91 | 524 | 26.5 | 763.4 | 6.2 | 0.59 | 383.5 | 0.28 | 8.14 | 81.5 | 504 | 25.9 | 761.8 | 5.4 | 0.57 | 370.5 | 0.27 | 7.78 | 82.2 | 501 | 27.5 | 760.6 | 6.1 | 0.56 | 364 | 0.27 | 7.98 | 78.1 | 508 | 28 | 762,3 | 5.6 | 0.56 | 364 | 0.27 | 7.94 | 192.6
sous No
well No | 11 | Sigueneau | 592 | 27.1 | 758.5 | 6.1 | 0.56 | 370.5 | 0.25 | 8.04 | 87.5 | 595 | 25.2 | 763.2 | 6.2 | 0.57 | 370.5 | 0.28 | 8.05 | 82.1 | 596 | 27.3 | 761.6 | 5.3 | 0.58 | 377 | 0.28 | 7.9 | 75.6 | 599 | 27.2 | 760.3 | 5 | 0.6 | 390 | 0.29 | 7.85 | 78 | 602 | 27.5 | 762.1 | 6.6 | 0.59 | 383.5 | 0.28 | 8.12 | 79.9
sous No

## MAS
Mas |  |  | 2020-03-07 | [8 empty] | 2020-03-14 | [8 empty] | 2020-03-21 | [8 empty] | 2020-03-28
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 106 | 27 | 762.1 | 1.6 | 1.18 | 767 | 0.58 | 7.75 | 78.9 | 110 | 27 | 763.1 | 2.1 | 1.17 | 760 | 0.58 | 7.91 | 77 | 110 | 26.7 | 763.8 | 2.1 | 1.17 | 760.5 | 0.58 | 7.95 | 84.9 | 109 | 27 | 761.3 | 1.6 | 1.15 | 747.5 | 0.57 | 7.71 | 88.6
sous No
well No | 2 | Beloc/Lavaud | 87 | 26.2 | 762.6 | 1.3 | 1.48 | 890.5 | 0.72 | 7.55 | 30 | 88 | 27.2 | 763.7 | 1.2 | 1.27 | 832 | 0.63 | 7.54 | 43.1 | 93 | 26.4 | 763.1 | 1.1 | 1.65 | 962 | 0.79 | 7.71 | 77.6 | 91 | 26.4 | 761.5 | 0.9 | 1.49 | 955.5 | 0.73 | 7.64 | 37.1
sous No
well No | 3 | Petit Harpon | 273 | 27 | 761.8 | 2.3 | 1.25 | 812.5 | 0.62 | 7.86 | 54.1 | 273 | 27.1 | 762 | 2.5 | 1.26 | 819 | 0.63 | 8.03 | 52.8 | 276 | 27 | 761.5 | 1.3 | 1.26 | 819 | 0.6 | 7.5 | 43.6 | 270 | 27.3 | 760.9 | 1.7 | 1.31 | 851.5 | 0.66 | 8.05 | 66.7
sous No
well No | 4 | Carrefur Dufort | 265 | 28 | 760.2 | 2.7 | 0,83 | 539.5 | 0.4 | 7.71 | 65.5 | 271 | 28.4 | 761.1 | 3.7 | 0.82 | 533 | 0.4 | 7.88 | 64 | 271 | 28 | 760.1 | 3.5 | 0.92 | 697 | 0.42 | 7.8 | 68 | 275 | 28.2 | 763.2 | 2.8 | 0.85 | 552.5 | 0.41 | 7.83 | 77.6
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 156 | 27.6 | 761.5 | 3.8 | 0.91 | 591.5 | 0.45 | 7.82 | 71.2 | 162 | 27.7 | 762.6 | 3.7 | 0.92 | 698 | 0.44 | 7.83 | 68.1 | 166 | 27.6 | 762.5 | 3.5 | 0.9 | 698 | 0.44 | 7.83 | 68.1 | 164 | 27.7 | 760.5 | 4.4 | 0.98 | 0.45 | 0.45 | 7.93 | 80.2
sous No
well No | 7 | Rte Darbonne | 493 | [8 empty] | 493 | [8 empty] | 493 | [8 empty] | 493
sous No
well No | 8 | Rte Belvald | 93 | 26 | 762.3 | 3 | 0.68 | 442 | 0.33 | 8.17 | 76.4 | 95 | 25.9 | 763.3 | 4.1 | 0.71 | 461.5 | 0.34 | 8.13 | 392 | 98 | 25.8 | 783.7 | 3.4 | 0.69 | 448.5 | 0.33 | 8.21 | 79.1 | 96 | 26 | 761.4 | 3.6 | 0.69 | 448.5 | 0.33 | 8.16 | 84
sous No
well No | 9 | Rte De Bire | 209 | 27.3 | 761.8 | 3.8 | 0.43 | 279.5 | 0.2 | 7.95 | 88.1 | 207 | 27.7 | 762.6 | 3.9 | 0.427 | 277.55 | 0.2 | 7.97 | 140.6 | 211 | 27.2 | 763.3 | 4.1 | 0.426 | 276.9 | 0.2 | 7.98 | 155.5 | 212 | 27.5 | 761.9 | 3.8 | 0.26 | 276.9 | 0.2 | 8.11 | 84.2
sous No
well No | 10 | Douane | 505 | 27.3 | 761.1 | 5.1 | 0.55 | 357.5 | 0.26 | 7.94 | 87.9 | 509 | 27.3 | 761.9 | 4.8 | 0.55 | 357.5 | 0.26 | 7.92 | 158.8 | 514 | 28 | 762.6 | 4.2 | 0.56 | 377 | 0.28 | 7.89 | 234.4 | 514 | 28.3 | 760.1 | 5.4 | 0.56 | 364 | 0.27 | 7.97 | 90
sous No
well No | 11 | Sigueneau | 605 | 27.3 | 760.7 | 5.9 | 0.59 | 383.5 | 0.28 | 7.99 | 84.8 | 612 | 27.3 | 761.7 | 5.2 | 0.59 | 383.5 | 0.28 | 7.88 | 185 | 616 | 27.3 | 762.1 | 5.9 | 0.63 | 409.5 | 0.3 | 8.06 | 520.2 | 614 | 27.3 | 759.9 | 5.4 | 0.58 | 377 | 0.28 | 7.97 | 88.9
sous No

## AVR
Avril |  |  | 2020-04-04 | [8 empty] | 2020-04-11 | [8 empty] | 2020-04-18 | [8 empty] | 2020-04-25
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 97 | 27.5 | 759.1 | 1.6 | 1.17 | 760.17 | 0.58 | 7.94 | 75.1 | 105 | 27.6 | 761.2 | 1.7 | 1.18 | 767 | 0.58 | 7.74 | 73.3 | 95 | 27.3 | 762.7 | 1.6 | 1.3 | 845 | 0.64 | 7.6 | 77.8 | 100 | 27.6 | 762.1 | 1.9 | 1.26 | 819 | 0.62 | 7.81 | 95.6
sous No
well No | 2 | Beloc/Lavaud | 94 | 26.4 | 759.7 | 0.6 | 1.26 | 819 | 0.62 | 7.56 | 42.6 | 93 | 27.1 | 761.7 | 1.3 | 1.56 | 894.5 | 0.73 | 7.78 | 32.3 | 87 | 26.7 | 763.2 | 2.6 | 1.21 | 786.5 | 0.6 | 7.9 | 51.3 | 89 | 27 | 762.5 | 1.6 | 1.1 | 708.5 | 0.64 | 7.59 | 70.6
sous No
well No | 3 | Petit Harpon | 276 | 27.2 | 759.1 | 2.7 | 1.3 | 845 | 0.64 | 8.06 | 53.1 | 289 | 27.6 | 760.9 | 3.5 | 1.31 | 851.5 | 0.65 | 8.15 | 53.6 | 279 | 27.3 | 762.4 | 2.4 | 1.27 | 825.5 | 0.63 | 8.13 | 60 | 285 | 27.5 | 761.3 | 2.7 | 1.23 | 799.5 | 0.61 | 7.89 | 76.8
sous No
well No | 4 | Carrefur Dufort | 274 | 28.3 | 767.2 | 2.4 | 0.82 | 533 | 0.4 | 7.81 | 65.8 | 276 | 28.3 | 759.1 | 2.8 | 0.82 | 533 | 0.4 | 8.01 | 65.4 | 279 | 28.2 | 760.7 | 2.7 | 0.81 | 526.5 | 0.39 | 7.89 | 68.6 | 274 | 28.2 | 760 | 3 | 0.8 | 520 | 0.39 | 7.81 | 86.6
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 166 | 27.8 | 768.4 | 4.1 | 0.92 | 598 | 0.45 | 7.9 | 68.5 | 167 | 28.1 | 760.5 | 3.5 | 0.94 | 611 | 0.46 | 7.84 | 68.2 | 166 | 28 | 762.1 | 3.6 | 0.92 | 598 | 0.45 | 7.82 | 69.7 | 168 | 28.1 | 761.8 | 2.8 | 0.93 | 604.5 | 0.45 | 7.58 | 94.5
sous No
well No | 7 | Rte Darbonne | 493 | [8 empty] | 493 | [8 empty] | 493 | [8 empty] | 493
sous No
well No | 8 | Rte Belvald | 97 | 26.5 | 759.2 | 3.9 | 0.66 | 429 | 0.32 | 8.25 | 69.4 | 98 | 27.4 | 761.4 | 3.4 | 0.67 | 435.5 | 0.32 | 8.26 | 73.2 | 99 | 27.1 | 763 | 3 | 0.7 | 455 | 0.34 | 8.11 | 66.2 | 96 | 27.5 | 762.5 | 2.3 | 0.72 | 468 | 0.35 | 8.15 | 80.9
sous No
well No | 9 | Rte De Bire | 214 | 27.4 | 758.5 | 4.2 | 0.428 | 277.55 | 0.2 | 8.22 | 77.3 | 216 | 27.4 | 760.9 | 3.8 | 0.426 | 276.25 | 0.2 | 7.95 | 83.3 | 215 | 27.4 | 762.5 | 4.2 | 0.52 | 338 | 0.25 | 8.06 | 76.8 | 216 | 27.4 | 761.8 | 4.1 | 0.456 | 296.4 | 0.22 | 8.09 | 88.3
sous No
well No | 10 | Douane | 516 | 26.9 | 757.8 | 5.9 | 0.52 | 338 | 0.25 | 8.33 | 71.9 | 519 | 27.4 | 760.1 | 3.6 | 0.59 | 383.5 | 0.28 | 7.67 | 94.6 | 518 | 27.4 | 761.7 | 4.1 | 0.6 | 390 | 0.29 | 7.8 | 82.3 | 524 | 27.2 | 761.5 | 4 | 0.7 | 389.7 | 0.3 | 8.21 | 82.5
sous No
well No | 11 | Sigueneau | 619 | 27.3 | 757.6 | 5.3 | 0.59 | 383.5 | 0.28 | 8.06 | 75.8 | 623 | 27.4 | 760 | 5.9 | 0.59 | 383.5 | 0.28 | 8.05 | 78.4 | 624 | 27.4 | 761.5 | 5.1 | 0.58 | 377 | 0.28 | 8.02 | 70.1 | 626 | 27.4 | 760.5 | 4.5 | 0.59 | 383.5 | 0.28 | 7.96 | 83.7
sous No

## MAY
May |  |  | 2020-05-02 | [8 empty] | 2020-05-09 | [8 empty] | 2020-05-16 | [8 empty] | 2020-05-23 | [8 empty] | 2020-05-30
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 106 | 27.5 | 762.5 | 1.4 | 1.26 | 819 | 0.62 | 7.58 | 83 | 93 | 27.6 | 761.3 | 1.6 | 1.39 | 903.5 | 0.69 | 7.74 | 60.2 | 98 | 27.4 | 760.2 | 1.7 | 1.37 | 890.5 | 0.68 | 7.64 | 80.1 | 95 | 27.8 | 760.6 | 1.5 | 1.36 | 884 | 0.68 | 7.66 | 107.5 | 109 | 27.8 | 760.8 | 1.3 | 1.37 | 890.5 | 0.68 | 7.64 | 131.9
sous No
well No | 2 | Beloc/Lavaud | 92 | 27 | 762.9 | 0.9 | 1.09 | 708.5 | 0.54 | 7.29 | 36.6 | 76 | 26.9 | 761.8 | 0.6 | 1.08 | 702 | 0.53 | 7.43 | -87.9 | 73 | 27 | 760.5 | 0.8 | 1.11 | 721.5 | 0.55 | 7.86 | -22.5 | 83 | 27.2 | 761.1 | 3 | 1.14 | 741 | 0.56 | 7.64 | 88.8 | 80 | 27.1 | 761.3 | 1.1 | 1.11 | 721.5 | 0.55 | 7.47 | 98.4
sous No
well No | 3 | Petit Harpon | 287 | 27.5 | 762.2 | 3.1 | 1.23 | 799.5 | 0.61 | 7.97 | 21.8 | 290 | 27.4 | 761.1 | 3.3 | 1.22 | 799.5 | 0.61 | 7.98 | 31.7 | 284 | 27.3 | 759.8 | 2.5 | 1.24 | 806 | 0.61 | 8.04 | 45.2 | 293 | 27.7 | 760.5 | 2.1 | 1.21 | 786.5 | 0.6 | 7.92 | 99.8 | 287 | 27.4 | 760.5 | 2.7 | 1.22 | 793 | 0.6 | 8 | 94.4
sous No
well No | 4 | Carrefur Dufort | 278 | 28.1 | 760.5 | 3.1 | 0.8 | 520 | 0.39 | 7.82 | 56.2 | 283 | 28.3 | 759.4 | 3.4 | 0.8 | 520 | 0.39 | 7.9 | 51.8 | 284 | 28.1 | 758.1 | 3.6 | 0.8 | 520 | 0.39 | 7.9 | 64.2 | 284 | 28.4 | 758.8 | 4.1 | 0.8 | 520 | 0.39 | 8.01 | 102.5 | 286 | 28.1 | 758.8 | 3.7 | 0.8 | 520 | 0.39 | 7.86 | 102.3
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 168 | 28.2 | 761.8 | 2.4 | 0.93 | 604.5 | 0.46 | 7.54 | 73.3 | 170 | 28.4 | 760.7 | 2.7 | 0.93 | 604.5 | 0.46 | 7.6 | 65.9 | 172 | 28.2 | 759.6 | 1.9 | 0.94 | 611 | 0.46 | 7.56 | 77.6 | 169 | 28.5 | 760.1 | 2.3 | 0.94 | 611 | 0.46 | 7.55 | 109.8 | 174 | 28.3 | 760.3 | 3.1 | 0.93 | 604.5 | 0.45 | 7.66 | 110.3
sous No
well No | 7 | Rte Darbonne | 493 | [8 empty] | 493 | [8 empty] | 493 | [8 empty] | 564 | 27.4 | 758.7 | 5.2 | 0.65 | 422.5 | 0.31 | 7.79 | 111.6 | 566 | 27.3 | 759.2 | 5.8 | 0.68 | 442 | 0.33 | 793 | 120.8
sous No
well No | 8 | Rte Belvald | 98 | 27.5 | 762.7 | 2.1 | 0.7 | 455 | 0.34 | 8.11 | 57.1 | 96 | 27.3 | 761.6 | 2.4 | 0.71 | 461.5 | 0.34 | 8.01 | 60.2 | 97 | 27 | 760.6 | 2.9 | 0.7 | 455 | 0.34 | 8.17 | 69.1 | 105 | [8 empty] | 96 | 27.5 | 760.9 | 4.9 | 0.64 | 416 | 0.31 | 8.36 | 103.2
sous No
well No | 9 | Rte De Bire | 213 | 27.3 | 762.4 | 3.9 | 0.443 | 287.95 | 0.21 | 7.91 | 80.6 | 212 | 27.5 | 761.2 | 4.2 | 0.64 | 416 | 0.31 | 7.9 | 74.5 | 218 | 27.3 | 760.4 | 3.8 | 0.53 | 344.5 | 0.25 | 7.92 | 80.1 | 217 | 27.3 | 760.3 | 4.1 | 0.49 | 318.5 | 0.24 | 7.86 | 91.9 | 215 | 27.5 | 760.6 | 4.1 | 0.474 | 308.1 | 0.23 | 8.02 | 110.6
sous No | [47 empty] | gb
well No | 10 | Douane | 524 | 27.4 | 761.6 | 5.2 | 0.53 | 344.5 | 0.25 | 7.94 | 77.3 | 521 | 27.4 | 760.4 | 4.2 | 0.52 | 338 | 0.25 | 7.95 | 74.5 | 521 | 27.3 | 759.6 | 3.9 | 0.53 | 344.5 | 0.25 | 7.76 | 87.5 | 521 | 27.5 | 759.4 | 4.3 | 0.52 | 338 | 0.25 | 7.86 | 103.7 | 524 | 27.3 | 759.9 | 4.1 | 0.53 | 844.5 | 0.25 | 7.99 | 112.9
sous No
well No | 11 | Sigueneau | 629 | 27.3 | 761.2 | 4.4 | 0.59 | 383.5 | 0.29 | 7.84 | 70.9 | 629 | 27.4 | 760.1 | 4.4 | 0.59 | 383.5 | 0.28 | 7.86 | 65.7 | 630 | 27.5 | 759.1 | 4.3 | 0.64 | 416 | 0.31 | 8.02 | 77.5 | 631 | 27.5 | 759.3 | 5.7 | 0.61 | 396.6 | 0.29 | 8.01 | 102.5 | 632 | 27.5 | 759.4 | 5.1 | 0.62 | 396.5 | 0.3 | 8.04 | 110.1
sous No

## JEN
Jen |  |  | 2020-06-06 | [8 empty] | 2020-06-13 | [8 empty] | 2020-06-20 | [8 empty] | 2020-06-27
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 115 | 27.6 | 761.8 | 1.1 | 1.36 | 884 | 0.68 | 7.49 | 115.1 | 112 | 27.9 | 759.3 | 1.3 | 1.37 | 890.5 | 0.68 | 7.59 | 117 | 114 | 28.1 | 761.4 | 1.1 | 1.38 | 897 | 0.68 | 7.59 | 112.3 | 117 | 28.2 | 760.6 | 1.3 | 1.39 | 903.5 | 0.69 | 7.66 | 106.5
sous No
well No | 2 | Beloc/Lavaud | 85 | 27.1 | 762.4 | 0.6 | 1.12 | 728 | 0.55 | 7.5 | 86 | 291 | 27.3 | 759.5 | 1.5 | 1.11 | 721.6 | 0.65 | 7.43 | 90.3 | 90 | 27.5 | 761.8 | 1.4 | 1.11 | 721.5 | 0.56 | 7.46 | 104.3 | 97 | 27.7 | 761.1 | 1.3 | 1.16 | 747.5 | 0.57 | 7.68 | 85.7
sous No
well No | 3 | Petit Harpon | 303 | 27.5 | 761.4 | 3.1 | 1.25 | 812.5 | 0.62 | 7.99 | 984 | 291 | 27.4 | 768.8 | 3 | 1.24 | 806 | 0.61 | 8.03 | 94.5 | 290 | 27.5 | 751.2 | 2.4 | 1.25 | 812.5 | 0.62 | 8.08 | 99.5 | 298 | 27.7 | 760.5 | 2.8 | 1.25 | 806 | 0.62 | 8.03 | 96.7
sous No
well No | 4 | Rte St. Andre | 290 | 28.1 | 769.7 | 3.3 | 0.8 | 520 | 0.39 | 8.01 | 105.5 | 289 | 28.1 | 757.1 | 3 | 0.81 | 526.5 | 0.39 | 7.8 | 105.7 | 291 | 28.5 | 759.3 | 3 | 0.8 | 620 | 0.39 | 7.81 | 107 | 292 | 28.2 | 758.7 | 3.4 | 0.79 | 513.5 | 0.38 | 7.85 | 105.1
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 173 | 28.4 | 761.2 | 2.8 | 0.94 | 611 | 0.64 | 7.64 | 116.1 | 178 | 28.4 | 758.5 | 2.9 | 0.91 | 591.5 | 0.45 | 7.43 | 119.6 | 160 | 27.4 | 160.7 | 5.4 | 0.8 | 520 | 0.39 | 809 | 109.1 | 182 | 28.7 | 760 | 1.1 | 0.88 | 572 | 0.43 | 7.83 | 103.3
sous No
well No | 7 | Rte Darbonne | 567 | 27.3 | 760.1 | 5.5 | 0.65 | 422.5 | 0.31 | 7.88 | 115.3 | 567 | 27.3 | 759.1 | 5.3 | 0.9 | 589.5 | 0.4 | 7.45 | 118.5 | 177 | 27.2 | 759.8 | 4.6 | 0.68 | 442 | 0.33 | 7.53 | 119.6 | 572 | 27.3 | 768.8 | 5.3 | 0.67 | 435.5 | 0.32 | 7.73 | 123.3
sous No
well No | 8 | Rte Belvald | 102 | [8 empty] | 102 | [8 empty] | 102 | [8 empty] | 102
sous No
well No | 9 | Rte De Bire | 218 | 27.5 | 761.6 | 4.4 | 0.48 | 312 | 0.23 | 7.94 | 117.5 | 219 | 27.3 | 759.5 | 3.2 | 0.468 | 304.55 | 0.22 | 7.66 | 127.3 | 219 | 27.6 | 761.3 | 3.9 | 0.46 | 299 | 0.22 | 7.91 | 106.7 | 222 | 27.5 | 760.4 | 3.4 | 0.454 | 295.2 | 0.22 | 7.78 | 116.1
sous No
well No | 10 | Douane | 531 | 27.4 | 760.9 | 4.4 | 0.52 | 338 | 0.25 | 7.92 | 117.7 | 527 | 27.3 | 758.5 | 3.1 | 0.52 | 338 | 25 | 7.61 | 131.3 | 529 | 27.5 | 760.3 | 3.8 | 0.51 | 331.5 | 0.24 | 7.78 | 124.2 | 531 | 27.3 | 759.4 | 0.6 | 0.52 | 338 | 0.25 | 7.77 | 119.9
sous No
well No | 11 | Sigueneau | 634 | 27.4 | 760.4 | 3.5 | 0.62 | 403 | 0.3 | 7.87 | 115.3 | 651 | 27.5 | 758.1 | 3.3 | 0.56 | 364 | 0.27 | 7.8 | 118.5 | 633 | 27.6 | 759.9 | 3.3 | 0.393 | 255.45 | 0.19 | 8.25 | 103.6 | 639 | 27.6 | 759 | 2.6 | 0.411 | 266.5 | 0.19 | 8.22 | 105.6
sous No

## JIY
Jiye |  |  | 2020-07-04 | [8 empty] | 2020-07-11 | [8 empty] | 2020-07-18 | [8 empty] | 2020-07-25
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 119 | 28 | 760.2 | 1.2 | 1.4 | 910 | 0.69 | 7.76 | 104.2 | 114 | 28 | 761.1 | 1.2 | 1.39 | 903.5 | 0.69 | 7.74 | 109.6 | 112 | 28.1 | 759.9 | 1.3 | 1.39 | 903.5 | 0.69 | 7.62 | 110.9 | 105 | 27.9 | 761 | 1.6 | 1.39 | 903.5 | 0.69 | 7.74 | 104.1
sous No
well No | 2 | Beloc/Lavaud | 93 | 27.5 | 760.5 | 1.1 | 1.17 | 760.5 | 0.68 | 7.62 | 87.8 | 96 | 27.6 | 761.5 | 1.4 | 1.16 | 764 | 0.57 | 7.7 | 99.9 | 93 | 27.5 | 759.9 | 0.9 | 1.16 | 754 | 0.57 | 7.53 | 80.7 | 83 | 27.3 | 761.7 | 0.5 | 1.13 | 734.5 | 0.56 | 7.56 | 94.6
sous No
well No | 3 | Petit Harpon | 296 | 27.6 | 759.9 | 1.4 | 1.23 | 799.5 | 0.61 | 8.03 | 90 | 295 | 27.4 | 760.9 | 1.9 | 1.22 | 793 | 0.6 | 8.03 | 95.1 | 293 | 27.5 | 759.3 | 2.8 | 1.24 | 806 | 0.61 | 8.1 | 86 | 292 | 27.3 | 760.7 | 2.4 | 1.2 | 780 | 0.59 | 7.96 | 99
sous No
well No | 4 | Carrefur Dufort | 291 | 28.2 | 758.3 | 3.1 | 0.79 | 513.5 | 0.39 | 7.94 | 98.1 | 292 | 28.1 | 759.1 | 3.1 | 0.8 | 520 | 0.39 | 8.04 | 101.4 | 291 | 28.1 | 757.7 | 3.1 | 0.8 | 520 | 0.39 | 8.03 | 100.7 | 288 | 28.2 | 759 | 3.1 | 0.81 | 526.5 | 0.39 | 7.99 | 104.9
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 181 | 28.6 | 759.6 | 2.7 | 0.9 | 585 | 0.44 | 7.81 | 98.6 | 182 | 28.4 | 760.4 | 2.5 | 0.91 | 591.5 | 0.44 | 7.86 | 103.1 | 184 | 28.4 | 769.2 | 2.2 | 0.91 | 591.5 | 0.44 | 7.8 | 104.6 | 183 | 28.4 | 760.3 | 2.8 | 0.91 | 591.5 | 0.44 | 7.86 | 94.7
sous No
well No | 7 | Rte Darbonne | 572 | 27.2 | 768.5 | 5.2 | 0.65 | 435.5 | 0.32 | 7.73 | 123.2 | 572 | 27.3 | 759.6 | 5.2 | 0.68 | 442 | 0.33 | 7.82 | 112.6 | 572 | 27.3 | 758.1 | 6.1 | 0.67 | 435.5 | 0.32 | 7.94 | 112.9 | 572 | 27.1 | 757.5 | 3.2 | 0.442 | 286.5 | 0.22 | 7.9 | 108
sous No
well No | 8 | Rte Belvald | 102 | [8 empty] | 111 | 28.5 | 761.2 | 2.5 | 0.69 | 448.5 | 0.33 | 8.14 | 96 | 110 | 28.8 | 760.1 | 3.4 | 0.65 | 422.5 | 0.32 | 8.21 | 103.1 | 108 | 28.2 | 761.1 | 2.9 | 0.64 | 416 | 0.31 | 8.12 | 92.17
sous No
well No | 9 | Rte De Bire | 222 | 27.6 | 760.2 | 3.7 | 0.449 | 281.85 | 0.21 | 7.85 | 112.4 | 223 | 27.6 | 761.1 | 4.3 | 0.446 | 289.25 | 0.21 | 7.9 | 110.1 | 225 | 27.6 | 759.7 | 4.1 | 0.443 | 287 | 0.21 | 7.94 | 108.1 | 225 | 27.5 | 760.5 | 3.7 | 0.446 | 289.9 | 0.21 | 7.75 | 113.3
sous No
well No | 10 | Douane | 532 | 27.4 | 769.4 | 3.4 | 0.52 | 338 | 0.25 | 7.82 | 116.2 | 535 | 27.4 | 760.2 | 4.4 | 0.47 | 305.5 | 0.22 | 7.82 | 111.6 | 538 | 27.3 | 758.9 | 3.3 | 0.49 | 318.5 | 0.23 | 7.79 | 115.4 | 536 | 27.3 | 760 | 2.2 | 0.5 | 325 | 0.24 | 7.77 | 112.8
sous No
well No | 11 | Sigueneau | 641 | 27.6 | 769.1 | 2.8 | 0.434 | 282.1 | 0.21 | 8.03 | 101.1 | 642 | 27.6 | 759.7 | 3.6 | 0.49 | 318.5 | 0.28 | 7.99 | 112.5 | 643 | 27.5 | 758.5 | 4.6 | 0.48 | 312 | 0.23 | 8.15 | 106.2 | 642 | 27.4 | 769.6 | 4.3 | 0.478 | 310.7 | 0.23 | 7.74 | 118.7
sous No

## OUT
Out |  |  | 2020-08-01 | [8 empty] | 2020-08-08 | [8 empty] | 2020-08-15 | [8 empty] | 2020-08-22 | [8 empty] | 2020-08-29
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 110 | 28.1 | 758.8 | 1.4 | 1.4 | 910 | 0.69 | 7.73 | 108.5 | 110 | 28 | 758.9 | 1.2 | 1.4 | 912 | 0.7 | 7.71 | 108.3 | 110 | 28.4 | 758.7 | 1.7 | 1.41 | 916.5 | 0.7 | 7.79 | 80.5 | 114 | 28.2 | 757.4 | 1.9 | 1.42 | 923 | 0.71 | 7.77 | 111.9 | 88 | 28.6 | 760.8 | 1.7 | 1.83 | 1189.5 | 0.92 | 7.69 | 109.1
sous No
well No | 2 | Beloc/Lavaud | 83 | 27.6 | 768.8 | 0.5 | 1.14 | 741 | 0.56 | 7.5 | 96.8 | 84 | 27.6 | 768.9 | 0.6 | 1.15 | 740 | 0.54 | 7.6 | 97 | 85 | 27.7 | 759.3 | 0.6 | 1.15 | 747.5 | 0.57 | 7.55 | 73 | 65 | 27.8 | 757.9 | 0.7 | 1.17 | 760.5 | 0.58 | 7.41 | 92.9 | 58 | 28 | 761.2 | 0.7 | 1.19 | 773.5 | 0.59 | 7.3 | 81.7
sous No
well No | 3 | Petit Harpon | 284 | 27.5 | 768.5 | 2.4 | 1.24 | 806 | 0.62 | 8.13 | 99.5 | 285 | 27.3 | 768.3 | 2.5 | 1.24 | 805 | 0.61 | 8.12 | 100 | 292 | 27.8 | 758.6 | 2.1 | 1.25 | 812.5 | 0.62 | 8 | 55.8 | 292 | 27.6 | 757.1 | 3.1 | 1.23 | 799.5 | 0.61 | 8.06 | 100.1 | 278 | 27.6 | 760.5 | 2 | 1.25 | 806 | 0.62 | 7.98 | 91.5
sous No
well No | 4 | Carrefur Dufort | 288 | 28.2 | 756.8 | 3.2 | 0.81 | 526.5 | 0.39 | 8.01 | 107.7 | 287 | 28 | 756.6 | 3.2 | 0.8 | 526.3 | 0.41 | 8.02 | 107.5 | 284 | 28.4 | 756.7 | 3.6 | 0.8 | 520 | 0.39 | 7.97 | 71.6 | 282 | 28.2 | 755.4 | 3.2 | 0.8 | 520 | 0.39 | 8.07 | 109.1 | 280 | 28.3 | 758.9 | 3.4 | 0.81 | 526.5 | 0.39 | 8.1 | 104.4
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 180 | 28.4 | 758.2 | 2.3 | 0.92 | 598 | 0.45 | 7.82 | 107.4 | 180 | 28.1 | 758.6 | 3.2 | 0.9 | 598 | 0.45 | 7.8 | 107.2 | 180 | 28.5 | 758.1 | 2.6 | 0.92 | 598 | 0.45 | 7.97 | 72.3 | 175 | 28.5 | 756.8 | 3.3 | 0.91 | 591.5 | 0.45 | 7.9 | 111.4 | 159 | 28.4 | 760.2 | 2.4 | 0.92 | 598 | 0.45 | 7.87 | 107.2
sous No
well No | 7 | Rte Darbonne | 566 | 27.2 | 757.5 | 4.8 | 0.66 | 422.5 | 0.31 | 7.65 | 113.8 | 565 | 27.1 | 757.2 | 4.6 | 0.68 | 422 | 0.31 | 7.62 | 113.6 | 582 | 27.3 | 766.9 | 4.5 | 0.65 | 422.5 | 0.31 | 7.82 | 96.9 | 570 | 27.2 | 756.7 | 5.2 | 0.65 | 422.5 | 0.31 | 7.88 | 133.5 | 548 | 27.2 | 757.14 | 4.9 | 0.64 | 416 | 0.31 | 7.8 | 119.5
sous No
well No | 8 | Rte Belvald | 111 | 28.6 | 759.1 | 2.4 | 0.64 | 416 | 0.31 | 8.06 | 100.6 | 110 | 28.3 | 760 | 2.5 | 0.64 | 415 | 0.3 | 8.03 | 102 | 106 | 28.9 | 758.8 | 2.9 | 0.66 | 429 | 0.32 | 8.31 | 67.5 | 109 | 28.8 | 757.6 | 2.6 | 0.65 | 422.5 | 0.31 | 8.19 | 107.3 | 110 | 28.5 | 757.5 | 3.5 | 0.65 | 422.5 | 0.32 | 7.85 | 105.6
sous No
well No | 9 | Rte De Bire | 225 | 27.7 | 758.9 | 3.9 | 0.44 | 285.35 | 0.21 | 7.86 | 95.4 | 224 | 27.6 | 759 | 4 | 0.442 | 285.34 | 0.21 | 7.85 | 96 | 223 | 27.6 | 758.3 | 4.1 | 0.452 | 293.15 | 0.22 | 8.5 | 88.3 | 244 | 27.6 | 757.1 | 3.9 | 0.45 | 292.5 | 0.21 | 7.96 | 155.5 | 211 | 27.6 | 760.5 | 4.5 | 0.7 | 455 | 0.34 | 7.99 | 114
sous No
well No | 10 | Douane | 529 | 27.3 | 758.1 | 2.9 | 0.5 | 325 | 0.24 | 8 | 110.5 | 529 | 27.1 | 758 | 2.8 | 0.45 | 326 | 0.22 | 8.2 | 110.5 | 535 | 27.4 | 757.5 | 2.3 | 0.51 | 331.5 | 0.24 | 7.99 | 94.5 | 535 | 27.3 | 756.3 | 2 | 0.5 | 325 | 0.24 | 7.89 | 119.9 | 516 | 28.4 | 759.8 | 3.9 | 0.468 | 304.2 | 0.22 | 7.99 | 221.6
sous No
well No | 11 | Sigueneau | 642 | 27.4 | 754.6 | 4.6 | 0.5 | 325 | 0.24 | 8.12 | 101.1 | 642 | 27.2 | 754.5 | 4.5 | 0.49 | 325 | 0.24 | 8.11 | 101 | 639 | 27.4 | 757.3 | 4.2 | 0.51 | 331.5 | 0.25 | 8.14 | 83.9 | 0.91 | 27.5 | 756.1 | 4.3 | 0.51 | 331.5 | 0.25 | 8.04 | 115.9 | 624 | 27.5 | 759.4 | 4.8 | 0.52 | 338 | 0.28 | 8.36 | 112.4
sous No

## SEP
Septanm |  |  | 2020-09-05 | [8 empty] | 2020-09-12 | [8 empty] | 2020-09-19 | [8 empty] | 2020-09-26
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 80 | 27.8 | 760.3 | 2.3 | 1.82 | 1189.5 | 0.92 | 7.66 | 125.5 | 70 | 28 | 757.3 | 2 | 1.82 | 1183 | 0.92 | 7.73 | 124.8 | 88 | 28.1 | 758.3 | 1.8 | 1.86 | 1209 | 0.94 | 7.72 | 113.6 | 84 | 28.3 | 758.9 | 2.1 | 1.88 | 1222 | 0.95 | 7.87 | 107.9
sous No
well No | 2 | Beloc/Lavaud | 54 | 27.5 | 760.3 | 0.9 | 1.18 | 767 | 0.59 | 7.36 | 122.8 | 39 | 27.4 | 757.8 | 1 | 1.12 | 728 | 0.55 | 7.59 | 121.7 | 43 | 27.7 | 768.7 | 1.8 | 1 | 650 | 0.49 | 7.46 | 110.7 | 53 | 27.4 | 759.6 | 0.7 | 1.13 | 734.5 | 0.56 | 8.23 | 22.9
sous No
well No | 3 | Petit Harpon | 270 | 27.2 | 769.7 | 2.9 | 1.21 | 786.5 | 0.6 | 7.94 | 109.3 | 244 | 27.4 | 756.2 | 3.7 | 1.21 | 773.5 | 0.59 | 7.98 | 101.2 | 211 | 27.4 | 757.9 | 2.6 | 1.27 | 825.5 | 0.63 | 7.94 | 111.1 | 209 | 27.4 | 760.8 | 1.9 | 1.28 | 832 | 0.64 | 7.84 | 104.4
sous No
well No | 4 | Carrefur Dufort | 274 | 28 | 768.1 | 3.3 | 0.81 | 526.5 | 0.4 | 7.9 | 119 | 264 | 28.6 | 764.5 | 3.6 | 0.8 | 620 | 0.39 | 7.99 | 116.6 | 255 | 28.3 | 756.3 | 3.4 | 0.81 | 526.6 | 0.39 | 8.17 | 119.8 | 253 | 28.5 | 758.9 | 3.2 | 0.82 | 633 | 0.4 | 8.25 | 114.2
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 150 | 28.3 | 759.6 | 2.3 | 0.92 | 598 | 0.46 | 7.82 | 121.2 | 133 | 28.1 | 756.7 | 0.91 | 1.21 | 591.5 | 0.46 | 7.94 | 121 | 136 | 28.3 | 757.3 | 2.8 | 0.92 | 598 | 0.45 | 7.78 | 114.4 | 136 | 28.4 | 760.2 | 2.3 | 0.92 | 598 | 0.45 | 8.01 | 103.1
sous No
well No | 7 | Rte Darbonne | 542 | 27.2 | 758.9 | 5.7 | 0.62 | 403 | 0.3 | 7.88 | 122.5 | 530 | 27.1 | 755.5 | 6.2 | 0.55 | 357.5 | 0.26 | 7.79 | 125.7 | 523 | 27.3 | 756.5 | 6.6 | 0.62 | 403 | 0.3 | 8.21 | 97.5 | 518 | 27.2 | 759.3 | 5.2 | 0.66 | 429 | 0.32 | 8.09 | 104.8
sous No
well No | 8 | Rte Belvald | 98 | 28.1 | 760.6 | 2.2 | 0.72 | 468 | 0.35 | 8.12 | 107.3 | 70 | 28.7 | 757.4 | 4.8 | 0.77 | 500.5 | 0.37 | 8.08 | 114.6 | 70 | 28.5 | 758.4 | 36 | 0.85 | 620.5 | 0.35 | 8.05 | 114.5 | 185 | 27.7 | 759.7 | 3.9 | 0.54 | 351 | 0.26 | 7.92 | 112.1
sous No
well No | 9 | Rte De Bire | 253 | 27.5 | 760.3 | 4.4 | 0.61 | 396.5 | 0.29 | 8 | 109.8 | 197 | 27.5 | 757.1 | 4 | 0.55 | 344.5 | 0.25 | 7.94 | 83.2 | 189 | 27.6 | 758.2 | 4.7 | 0.53 | 344.5 | 0.25 | 8.21 | 99.9 | 480 | 28.1 | 759.3 | 5.2 | 0.62 | 403 | 0.3 | 8.2 | 108.1
sous No
well No | 10 | Douane | 515 | 27.2 | 759.6 | 4.9 | 0.468 | 303.55 | 0.22 | 8.12 | 114.5 | 504 | 27.3 | 756.3 | 4.4 | 0.47 | 305.15 | 0.22 | 7.99 | 121.9 | 488 | 27.3 | 757.5 | 4.6 | 0.43 | 318.5 | 0.23 | 8.28 | 67.8 | 587 | 27.5 | 759.2 | 5.5 | 0.65 | 422.5 | 31 | 7.94 | 111.5
sous No
well No | 11 | Sigueneau | 616 | 27.5 | 759.2 | 5.2 | 0.49 | 318.5 | 0.23 | 8.16 | 101.3 | 613 | 27.3 | 755.9 | 4.8 | 0.53 | 344.5 | 0.25 | 7.99 | 117.4 | 601 | 27.3 | 757.1 | 6.4 | 0.64 | 416 | 0.31 | 8.6 | 92.2
sous No

## OCT
Octob |  |  | 2020-10-03 | [8 empty] | 2020-10-10 | [8 empty] | 2020-10-17 | [8 empty] | 2020-10-24 | [8 empty] | 2020-10-31
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 84 | 28.4 | 758.7 | 2 | 1,85 | 1220 | 0.9 | 7.85 | 107.6 | 85 | [8 empty] | 86 | [8 empty] | 96 | [8 empty] | 95
sous No
well No | 2 | Beloc/Lavaud | 53 | 27.5 | 759.5 | 0.7 | 1.14 | 732.5 | 0,56 | 8.21 | 22.8 | 55 | [8 empty] | 54 | [8 empty] | 76 | [8 empty] | 61
sous No
well No | 3 | Petit Harpon | 209 | 27.3 | 760.8 | 1,7 | 1.26 | 832 | 0.63 | 7.83 | 104.5 | 208 | [8 empty] | 207 | [8 empty] | 210 | [8 empty] | 212
sous No
well No | 4 | Carrefur Dufort | 253 | 28.5 | 758.8 | 3.1 | 0.8 | 630 | 0.4 | 8.2 | 114.4 | 235 | [8 empty] | 237 | [8 empty] | 233 | [8 empty] | 235
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 136 | 28.4 | 760 | 2.3 | 0.9 | 598.2 | 0.44 | 8 | 103.3 | 120 | [8 empty] | 111 | [8 empty] | 118 | [8 empty] | 112
sous No
well No | 7 | Rte Darbonne | 518 | 27.1 | 759.2 | 5 | 0.65 | 430 | 0.31 | 8.08 | 104.8 | 520 | [8 empty] | 520 | [8 empty] | 520 | [8 empty] | 505
sous No
well No | 8 | Rte Belvald | 84 | 28.8 | 759.5 | 4.5 | 0.81 | 539 | 0.42 | 7.98 | 109.6 | 82 | [8 empty] | 81 | [8 empty] | 80 | [8 empty] | 81
sous No
well No | 9 | Rte De Bire | 185 | 27.7 | 759.5 | 3.8 | 0.53 | 351.2 | 0.25 | 7.91 | 112.2 | 175 | [8 empty] | 176 | [8 empty] | 170 | [8 empty] | 173
sous No
well No | 10 | Douane | 480 | 28 | 759.1 | 5.1 | 0.61 | 403.3 | 0.32 | 8.2 | 108 | 470 | [8 empty] | 470 | [8 empty] | 470 | [8 empty] | 468
sous No
well No | 11 | Sigueneau | 587 | 27.3 | 759 | 5.3 | 0.67 | 422.4 | 0.32 | 7.91 | 112.3 | 575 | [8 empty] | 575 | [8 empty] | 576 | [8 empty] | 568
sous No

## NOV
Novanm |  |  | 2020-11-07 | [8 empty] | 2020-11-14 | [8 empty] | 2020-11-21 | [8 empty] | 2020-11-28
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 89 | [8 empty] | 93 | [8 empty] | 92 | [8 empty] | 86
sous No
well No | 2 | Beloc/Lavaud | 63 | [8 empty] | 63 | [8 empty] | 61 | [8 empty] | 58
sous No
well No | 3 | Petit Harpon | 215 | [8 empty] | 217 | [8 empty] | 215 | [8 empty] | 207
sous No
well No | 4 | Carrefur Dufort | 230 | [8 empty] | 238 | [8 empty] | 224 | [8 empty] | 224
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 111 | [8 empty] | 110 | [8 empty] | 105 | [8 empty] | 109
sous No
well No | 7 | Rte Darbonne | 505 | [8 empty] | 510 | [8 empty] | 510 | [8 empty] | 510
sous No
well No | 8 | Rte Belvald | 81 | [8 empty] | 111 | [8 empty] | 83 | [8 empty] | 83
sous No
well No | 9 | Rte De Bire | 174 | [8 empty] | 175 | [8 empty] | 175 | [8 empty] | 177
sous No
well No | 10 | Douane | 469 | [8 empty] | 470 | [8 empty] | 464 | [8 empty] | 464
sous No
well No | 11 | Sigueneau | 568 | [8 empty] | 570 | [8 empty] | 562 | [8 empty] | 565
sous No

## DES
Desanm |  |  | 2020-12-05 | [8 empty] | 2020-12-12 | [8 empty] | 2020-12-19 | [8 empty] | 2020-12-26
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 96 | [8 empty] | 100 | [8 empty] | 91 | [8 empty] | 93
sous No
well No | 2 | Beloc/Lavaud | 62 | [8 empty] | 65 | [8 empty] | 69 | [8 empty] | 69
sous No
well No | 3 | Petit Harpon | 211 | [8 empty] | 215 | [8 empty] | 216 | [8 empty] | 218
sous No
well No | 4 | Carrefur Dufort | 218 | [8 empty] | 220 | [8 empty] | 216 | [8 empty] | 216
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 107 | [8 empty] | 110 | [8 empty] | 102 | [8 empty] | 108
sous No
well No | 7 | Rte Darbonne | 510 | [8 empty] | 515 | [8 empty] | 520 | [8 empty] | 520
sous No
well No | 8 | Rte Belvald | 80 | [8 empty] | 80 | [8 empty] | 78 | [8 empty] | 80
sous No
well No | 9 | Rte De Bire | 175 | [8 empty] | 175 | [8 empty] | 178 | [8 empty] | 176
sous No
well No | 10 | Douane | 467 | [8 empty] | 465 | [8 empty] | 491 | [8 empty] | 490
sous No
well No | 11 | Sigueneau | 562 | [8 empty] | 563 | [8 empty] | 561 | [8 empty] | 561
sous No