## Yrly OneTime
Beginning of Year Special (Janaury 14)
type |  |  | HACH Total Coliform Pres/Abs 1. Screening Test | HACH E. Coli Pres/Abs with MUG 1. Screening Test | HACH m-FecalColiform Agar [CFU/100mL] | HACH mBlue Total Coliform [CFU or MPN /100mL] | HACH mBlue E. Coli [CFU or MPN /100mL] | Hardness (YSI Kit) | Hardness (Health Metric) | Alkalinity (YSI Kit) | Alkalinity (Health Metric) | Nitrate (YSI Colorimeter) | Nitrate (Health Metric) | Nitrite (Health Metric) | Iron (YSI Colorimeter) | Copper (YSI Colorimeter) | Sulfate (YSI Colorimeter) | Manganese (Health Metric) | Hydrogen Sulfide (Health Metric)
WQ Standard |  |  |  |  | < 1 Drinking Water <235 full body cont | < 4 blue and red | < 1 red only | 0 - 60 mg/L soft 60 - 120 mod hard 120 - 180 very hard | 0 - 60 mg/L soft 60 - 120 mod hard 120 - 180 very hard | should be between 20 - 200 mg/L | should be between 20 - 200 mg/L | < 10 mg/L as Nitrate-N <45 mg/L as Nitrate NO3 | < 10 mg/L as Nitrate-N <45 mg/L as Nitrate NO3 | < 1.0 mg/L as Nitrate-N | < 0.3 mg/L | < 2.5 mg/L | < 250 mg/L | < 0.05 mg/L | [mg/L or ppm] 0 - 1 musty 1 - 2 rotten egg < 10 in general
well No | 1 | Rue Levandiere
sous No
well No | 2 | Beloc/Lavaud
sous No
well No | 3 | Petit Harpon
sous No
well No | 4 | Carrefur Dufort
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel
sous No
well No | 7 | Rte Darbonne
sous No
well No | 8 | Rte Belvald
sous No
well No | 9 | Rte De Bire
sous No | [19 empty] | gb
well No | 10 | Douane
sous No
well No | 11 | Sigueneau
sous No

## JAN
Janvier |  |  | 2022-01-01 | [8 empty] | 2022-01-08 | [8 empty] | 2022-01-15 | [8 empty] | 2022-01-22 | [8 empty] | 2022-01-29
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | "7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 89 | 26.4 |  |  | 1.84 | 1180 |  | 6.7 |  | 93 | 27.1 |  |  | 1.65 | 1240 |  | 6.6 |  | 92 | 27.3 |  |  | 1.34 | 980 |  | 6.5 |  | 96 | 27.5 |  |  | 1.5 | 1060 |  | 6.7 |  | 95 | 27.2 |  |  | 1.53 | 1540 |  | 5.2
sous No
well No | 2 | Beloc/Lavaud | 73 | 26 |  |  | 1.51 | 1500 |  | 6.8 |  | 76 | 25.6 |  |  | 1.43 | 1960 |  | 6.8 |  | 78 | 25 |  |  | 1.43 | 1320 |  | 6.8 |  | 80 | 25.5 |  |  | 1.46 | 1000 |  | 6.8 |  | 80 | 26.1 |  |  | 1.39 | 1380 |  | 6.3
sous No
well No | 3 | Petit Harpon | 196 | 25.8 |  |  | 1.78 | 1890 |  | 7 |  | 199 | 24.4 |  |  | 1.7 | 1800 |  | 7.1 |  | 203 | 25.4 |  |  | 1.54 | 1060 |  | 7 |  | 205 | 26.4 |  |  | 1.61 | 1460 |  | 7 |  | 208 | 26.2 |  |  | 1.55 | 1040 |  | 6.9
sous No
well No | 4 | Carrefur Dufort | 217 | 25.8 |  |  | 1.15 | 1090 |  | 6.7 |  | 220 | 27.5 |  |  | 1.16 | 1350 |  | 6.6 |  | 218 | 27.8 |  |  | 1.06 | 680 |  | 6.7 |  | 222 | 27.3 |  |  | 1.08 | 1120 |  | 6.7 |  | 226 | 27.5 |  |  | 1.1 | 1480 |  | 6.6
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 101 | 27.9 |  |  | 1.28 | 830 |  | 6.7 |  | 105 | 27.6 |  |  | 1.25 | 820 |  | 6.7 |  | 106 | 27.9 |  |  | 1.15 | 740 |  | 6.7 |  | 109 | 28.7 |  |  | 1.35 | 1570 |  | 6.8 |  | 113 | 27.8 |  |  | 1.14 | 1190 |  | 6.3
sous No
well No | 7 | Rte Darbonne | 495 | 27.9 |  |  | 0.64 | 490 |  | 6.7 |  | 502 | 27.3 |  |  | 0.73 | 380 |  | 6.9 |  | 505 | 27.3 |  |  | 0.78 | 610 |  | 6.8 |  | 504 | 27.6 |  |  | 1.03 | 780 |  | 6.7 |  | 510 | 27.5 |  |  | 0.8 | 790 |  | 6.6
sous No
well No | 8 | Rte Belvald | 80 | 24.5 |  |  | 1.24 | 720 |  | 6.8 |  | 77 | 26.4 |  |  | 1.03 | 560 |  | 6.9 |  | 83 | 26.4 |  |  | 0.76 | 590 |  | 6.7 |  | 90 | 26.3 |  |  | 0.81 | 570 |  | 6.8 |  | 83 | 24.2 |  |  | 1.04 | 1470 |  | 6.9
sous No
well No | 9 | Rte De Bire | 188 | 25.6 |  |  | 0.95 | 1120 |  | 6.8 |  | 189 | 27.4 |  |  | 0.74 | 370 |  | 6.7 |  | 188 | 27.6 |  |  | 0.53 | 380 |  | 6.6 |  | 195 | 27.5 |  |  | 0.68 | 430 |  | 6.7 |  | 194 | 27.1 |  |  | 0.72 | 1200 |  | 6.8
sous No
well No | 10 | Douane | 509 | 26.8 |  |  | 0.92 | 1150 |  | 6.7 |  | 512 | 27.7 |  |  | 1.08 | 460 |  | 6.9 |  | 515 | 27.2 |  |  | 0.6 | 460 |  | 6.6 |  | 519 | 27.5 |  |  | 0.9 | 1400 |  | 6.8 |  | 512 | 27.5 |  |  | 0.62 | 870 |  | 6.7
sous No
well No | 11 | Sigueneau | 565 | 26.9 |  |  | 1.09 | 1230 |  | 6.5 |  | 566 | 27.6 |  |  | 0.95 | 560 |  | 6.8 |  | 574 | 27 |  |  | 0.97 | 790 |  | 6.7 |  | 576 | 27.8 |  |  | 1.04 | 580 |  | 6.7 |  | 576 | 27.8 |  |  | 1.34 | 670 |  | 6.8
sous No

## FEV
Fevriye |  |  | 2022-02-05 | [8 empty] | 2022-02-12 | [8 empty] | 2022-02-19 | [8 empty] | 2022-02-26
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 90 | 27.5 |  |  | 1.55 | 1560 |  | 5.5 |  | 84 | 27.3 |  |  | 1.59 | 1040 |  | 5.6 |  | 91 | 27.1 |  |  | 1.47 | 1840 |  | 7.1 |  | 93 | 27.2 |  |  | 1.67 | 1180 |  | 6.7
sous No
well No | 2 | Beloc/Lavaud | 72 | 24.2 |  |  | 1.3 | 1390 |  | 2.4 |  | 74 | 25.3 |  |  | 1.4 | 1370 |  | 6.1 |  | 76 | 26 |  |  | 1.53 | 1860 |  | 2.6 |  | 76 | 26 |  |  | 1.51 | 1370 |  | 2.1
sous No
well No | 3 | Petit Harpon | 213 | 25.6 |  |  | 1.67 | 1020 |  | 2.3 |  | 214 | 33.3 |  |  | 1.51 | 1450 |  | 7.1 |  | 216 | 26.1 |  |  | 1.66 | 1410 |  | 3.1 |  | 216 | 28 |  |  | 1.72 | 1450 |  | 7.1
sous No
well No | 4 | Carrefur Dufort | 227 | 26.3 |  |  | 1.09 | 1610 |  | 2.4 |  | 323 | 27.4 |  |  | 1.03 | 1580 |  | 2.5 |  | 232 | 26.5 |  |  | 1.24 | 1180 |  | 2.2 |  | 233 | 27.3 |  |  | 1.17 | 1420 |  | 4.3
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 104 | 28 |  |  | 1.37 | 730 |  | 2.2 |  | 114 | 28.3 |  |  | 1.38 | 1280 |  | 6.8 |  | 115 | 28.9 |  |  | 1.28 | 1080 |  | 2.1 |  | 115 | 27.8 |  |  | 1.12 | 950 |  | 6.8
sous No
well No | 7 | Rte Darbonne | 511 | 27.6 |  |  | 1.14 | 620 |  | 6.8 |  | 513 | 30.3 |  |  | 0.69 | 460 |  | 4 |  | 514 | 27.5 |  |  | 0.64 | 390 |  | 6.7 |  | 518 | 27.4 |  |  | 0.72 | 390 |  | 6.8
sous No
well No | 8 | Rte Belvald | 58 | 26.3 |  |  | 1.22 | 680 |  | 6.8 |  | 79 | 30.4 |  |  | 1.07 | 640 |  | 2.4 |  | 81 | 26.1 |  |  | 0.97 | 620 |  | 6.9 |  | 83 | 28.3 |  |  | 0.97 | 560 |  | 6.8
sous No
well No | 9 | Rte De Bire | 195 | 27 |  |  | 0.84 | 390 |  | 6.9 |  | 194 | 28.3 |  |  | 0.72 | 360 |  | 6.9 |  | 197 | 27.7 |  |  | 0.81 | 460 |  | 6.8 |  | 201 | 28.2 |  |  | 0.77 | 340 |  | 6.8
sous No
well No | 10 | Douane | 520 | 28.2 |  |  | 1.03 | 460 |  | 6.9 |  | 519 | 33.8 |  |  | 0.7 | 400 |  | 3.5 |  | 520 | 29.3 |  |  | 0.84 | 450 |  | 5.4 |  | 522 | 30 |  |  | 0.73 | 400 |  | 7
sous No
well No | 11 | Sigueneau | 582 | 27.8 |  |  | 0.82 | 530 |  | 2.3 |  | 578 | 33 |  |  | 0.8 | 490 |  | 2.2 |  | 578 | 27.1 |  |  | 1.24 | 1030 |  | 2.4 |  | 582 | 27.8 |  |  | 0.84 | 470 |  | 2.3
sous No

## MAS
Mas |  |  | 2022-03-05 | [8 empty] | 2022-03-12 | [8 empty] | 2022-03-19 | [8 empty] | 2022-03-26
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Lavandriere | 58 | 29.1 |  |  | 0.79 | 1670 |  | 7 |  | 76 | 19.1 |  |  | 3.7 | 800 |  | 7.8 |  | 79 | 26.7 |  |  | 0.71 | 1140 |  | 6.5 |  | 86 | 16.6 |  |  | 0.56 | 1540 |  | 5.6
sous No
well No | 2 | Beloc/Lavaud | 57 | 28 |  |  | 1.47 | 1360 |  | 2.8 |  | 56 | 26.3 |  |  | 1.34 | 1360 |  | 2.7 |  | 58 | 26.6 |  |  | 1.53 | 1230 |  | 6 |  | 64 | 28.7 |  |  | 0.98 | 930 |  | 6.4
sous No
well No | 3 | Petit Hapon | 216 | 28.7 |  |  | 1.7 | 1420 |  | 3.3 |  | 210 | 25.6 |  |  | 1.69 | 1080 |  | 6.8 |  | 206 | 27.9 |  |  | 0.58 | 1830 |  | 6.9 |  | 209 | 26.2 |  |  | 0.64 | 1390 |  | 7.2
sous No
well No | 4 | Rte St Andre | 235 | 27.9 |  |  | 1.12 | 1270 |  | 6.6 |  | 239 | 30.6 |  |  | 0.24 | 650 |  | 2.9 |  | 239 | 28.3 |  |  | 1.01 | 1090 |  | 6.5 |  | 241 | 28.5 |  |  | 0.69 | 1390 |  | 7.1
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 88 | 29.7 |  |  | 1.2 | 840 |  | 6.7 |  | 111 | 26.5 |  |  | 1.25 | 900 |  | 6.7 |  | 112 | 29.6 |  |  | 0.69 | 1080 |  | 6.4 |  | 118 | 26.4 |  |  | 0.22 | 1260 |  | 6.3
sous No
well No | 7 | Rte Darbonne | 516 | 27.6 |  |  | 0.74 | 390 |  | 6.7 |  | 507 | 26.2 |  |  | 1.03 | 400 |  | 6.2 |  | 510 | 27.4 |  |  | 1.7 | 450 |  | 6.3 |  | 511 | 27.3 |  |  | 0.63 | 410 |  | 6.5
sous No
well No | 8 | Rte Belval | 41 | 26.6 |  |  | 1.18 | 720 |  | 6.7 |  | 69 | 19.4 |  |  | 3.88 | 610 |  | 6.3 |  | 75 | 28.9 |  |  | 0.58 | 1760 |  | 6.6 |  | 76 | 22.5 |  |  | 0.91 | 710 |  | 6.5
sous No
well No | 9 | Rte De Bire | 191 | 27.9 |  |  | 0.65 | 520 |  | 6.7 |  | 187 | 26.7 |  |  | 0.76 | 370 |  | 6.7 |  | 187 | 28.3 |  |  | 0.28 | 630 |  | 6.5 |  | 193 | 27.7 |  |  | 0.56 | 390 |  | 6.6
sous No
well No | 10 | Douane | 521 | 28 |  |  | 0.74 | 530 |  | 6.9 |  | 515 | 24.6 |  |  | 1.1 | 440 |  | 6.5 |  | 516 | 28.1 |  |  | 0.32 | 930 |  | 6.5 |  | 519 | 25.3 |  |  | 0.69 | 520 |  | 6.7
sous No
well No | 11 | Sigueneau | 583 | 27.3 |  |  | 0.96 | 480 |  | 4.7 |  | 579 | 24.1 |  |  | 1.5 | 530 |  | 6.3 |  | 580 | 23.6 |  |  | 0.39 | 1410 |  | 6.3 |  | 581 | 25.1 |  |  | 0.95 | 770 |  | 6.5
sous No

## AVR
Avril |  |  | 2022-04-02 | [8 empty] | 2022-04-09 | [8 empty] | 2022-04-16 | [8 empty] | 2022-04-23 | [8 empty] | 2022-04-30
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 83 | 27.4 |  |  | 1.31 | 1500 |  | 6.4 |  | 88 | 26.8 |  |  | 1.44 | 1110 |  | 6.4 |  | 82 | 27.6 |  |  | 0.86 | 1450 |  | 5.6 |  | 75 | 27.5 |  |  | 1.06 | 1260 |  | 6.5 |  | 85 | 27.2 |  |  | 0.17 | 1600 |  | 5.8
sous No
well No | 2 | Beloc/Lavaud | 59 | 27.7 |  |  | 0.66 | 1100 |  | 5.9 |  | 63 | 28.5 |  |  | 1.44 | 1330 |  | 6.5 |  | 58 | 27 |  |  | 0.46 | 1080 |  | 6.4 |  | 52 | 27.2 |  |  | 0.85 | 1090 |  | 6.7 |  | 56 | 25.6 |  |  | 0.35 | 920 |  | 2.1
sous No
well No | 3 | Petit Harpon | 210 | 27.8 |  |  | 1.09 | 1060 |  | 7 |  | 212 | 26..5 |  |  | 1.4 | 1710 |  | 7 |  | 197 | 26.2 |  |  | 1.45 | 1270 |  | 6.9 |  | 190 | 26.5 |  |  | 1.43 | 1280 |  | 7.1 |  | 180 | 26.3 |  |  | 1.4 | 1140 |  | 6.3
sous No
well No | 4 | Carrefur Dufort | 242 | 27.6 |  |  | 1.01 | 1860 |  | 6.5 |  | 242 | 27.3 |  |  | 1.05 | 1840 |  | 6.5 |  | 248 | 27.1 |  |  | 0.77 | 1250 |  | 7.2 |  | 210 | 27.3 |  |  | 0.81 | 1260 |  | 7.5 |  | 220 | 26.7 |  |  | 1.25 | 1030 |  | 6.5
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 115 | 30.9 |  |  | 1.1 | 1520 |  | 6.6 |  | 118 | 29.4 |  |  | 0.41 | 1130 |  | 6.3 |  | 120 | 28.9 |  |  | 0.68 | 1040 |  | 5.7 |  | 112 | 28.5 |  |  | 0.69 | 1030 |  | 6.5 |  | 118 | 27.9 |  |  | 1.15 | 1600 |  | 5.4
sous No
well No | 7 | Rte Darbonne | 514 | 27.3 |  |  | 0.67 | 430 |  | 6.6 |  | 514 | 27.5 |  |  | 0.68 | 630 |  | 6.5 |  | 517 | 27.8 |  |  | 0.59 | 410 |  | 6.5 |  | 512 | 27.9 |  |  | 0.55 | 450 |  | 6.7 |  | 521 | 30.6 |  |  | 0.67 | 460 |  | 6.4
sous No
well No | 8 | Rte Belvald | 76 | 27.4 |  |  | 0.76 | 650 |  | 6.6 |  | 81 | 28.4 |  |  | 0.75 | 1460 |  | 7.2 |  | 84 | 24.3 |  |  | 0.6 | 700 |  | 6.7 |  | 75 | 26,5 |  |  | 0.68 | 710 |  | 6.8 |  | 81 | 28.8 |  |  | 0.4 | 970 |  | 6.6
sous No
well No | 9 | Rte De Bire | 190 | 25.8 |  |  | 0.37 | 370 |  | 6.6 |  | 195 | 27.2 |  |  | 0.42 | 1500 |  | 5.9 |  | 200 | 27.9 |  |  | 0.43 | 470 |  | 6.6 |  | 195 | 28.1 |  |  | 0.45 | 520 |  | 6.7 |  | 200 | 27.7 |  |  | 0.13 | 390 |  | 6.6
sous No
well No | 10 | Douane | 520 | 27.6 |  |  | 0.99 | 650 |  | 6.8 |  | 522 | 27.7 |  |  | 0.45 | 1390 |  | 5.7 |  | 524 | 27.5 |  |  | 0.51 | 460 |  | 6.2 |  | 520 | 27.6 |  |  | 0.55 | 470 |  | 6.8 |  | 528 | 27.5 |  |  | 0.34 | 480 |  | 6.6
sous No
well No | 11 | Sigueneau | 582 | 27.7 |  |  | 0.9 | 630 |  | 6.5 |  | 593 | 27.6 |  |  | 0.9 | 960 |  | 6.4 |  | 587 | 27.8 |  |  | 0.32 | 480 |  | 6.4 |  | 580 | 27.9 |  |  | 0.35 | 490 |  | 6.9 |  | 593 | 27.5 |  |  | 0.83 | 750 |  | 2.6
sous No

## MAY
May |  |  | 2022-05-07 | [8 empty] | 2022-05-15 | [8 empty] | 2022-05-22 | [8 empty] | 2022-05-29 | [8 empty] | 5/__/____
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 85 | 27.5 |  |  | 0.45 | 1580 |  | 6.5 |  | 94 | 27.4 |  |  | 1.5 | 1530 |  | 6.5 |  | 93 | 28.9 |  |  | 0.9 | 1050 |  | 6.4 |  | 93 | 27.7 |  |  | 1.13 | 1510 |  | 4.7
sous No
well No | 2 | Beloc/Lavaud | 56 | 26.5 |  |  | 0.37 | 1200 |  | 5.7 |  | 68 | 27.5 |  |  | 1.42 | 1110 |  | 6.6 |  | 74 | 28 |  |  | 1.34 | 890 |  | 6.6 |  | 76 | 27.3 |  |  | 0.59 | 880 |  | 5.1
sous No
well No | 3 | Petit Harpon | 185 | 26.7 |  |  | 1.5 | 1160 |  | 6.5 |  | 190 | 26.8 |  |  | 0.51 | 1510 |  | 5.1 |  | 196 | 27.6 |  |  | 0.04 | 1210 |  | 2.5 |  | 200 | 26.8 |  |  | 0.26 | 1250 |  | 2.1
sous No
well No | 4 | Carrefur Dufort | 225 | 26.9 |  |  | 1.35 | 1060 |  | 6.7 |  | 220 | 26.3 |  |  | 1.26 | 1210 |  | 6.5 |  | 241 | 27.5 |  |  | 0.02 | 630 |  | 2.1 |  | 240 | 27.1 |  |  | 0.52 | 720 |  | 2.5
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 120 | 28 |  |  | 1.17 | 1040 |  | 5.9 |  | 125 | 28.5 |  |  | 0.97 | 980 |  | 6.5 |  | 126 | 28.9 |  |  | 1.09 | 730 |  | 5.9 |  | 129 | 28.1 |  |  | 1.06 | 800 |  | 6.8
sous No
well No | 7 | Rte Darbonne | 522 | 28.5 |  |  | 0.77 | 470 |  | 6.5 |  | 520 | 28.5 |  |  | 0.65 | 520 |  | 6.2 |  | 528 | 29.6 |  |  | 0.54 | 460 |  | 5.9 |  | 528 | 29.1 |  |  | 0.68 | 480 |  | 6.5
sous No
well No | 8 | Rte Belvald | 82 | 28.9 |  |  | 0.45 | 980 |  | 6.6 |  | 88 | 27.1 |  |  | 0.77 | 650 |  | 5.2 |  | 88 | 29.5 |  |  | 0.54 | 500 |  | 6.5 |  | 87 | 25.8 |  |  | 0.26 | 540 |  | 6.7
sous No
well No | 9 | Rte De Bire | 200 | 27.8 |  |  | 0.15 | 400 |  | 6.6 |  | 203 | 27 |  |  | 0.58 | 530 |  | 6.5 |  | 202 | 29 |  |  | 0.03 | 330 |  | 5.2 |  | 204 | 28.4 |  |  | 0.44 | 390 |  | 6.7
sous No
well No | 10 | Douane | 528 | 27.6 |  |  | 0.35 | 490 |  | 6.7 |  | 534 | 27.5 |  |  | 0.11 | 620 |  | 6 |  | 537 | 29.2 |  |  | 0.4 | 380 |  | 6.3 |  | 538 | 26.3 |  |  | 0.52 | 730 |  | 6.7
sous No
well No | 11 | Sigueneau | 594 | 27.7 |  |  | 0.86 | 780 |  | 5.6 |  | 610 | 27.1 |  |  | 0.83 | 1030 |  | 4.7 |  | 603 | 28.4 |  |  | 0.18 | 470 |  | 5.5 |  | 607 | 27.4 |  |  | 0.81 | 480 |  | 6.3
sous No

## JEN
Jen |  |  | 2022-06-04 | [8 empty] | 2022-06-11 | [8 empty] | 2022-06-18 | [8 empty] | 2022-06-25
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 93 | 27.5 |  |  | 1.16 | 1520 |  | 7.1 |  | 99 | 28.6 |  |  | 1.58 | 1090 |  | 6.4 |  | 94 | 28.3 |  |  | 1.34 | 1480 |  | 6.5 |  | 94 | 28.5 |  |  | 1.35 | 1470 |  | 6.3
sous No
well No | 2 | Beloc/Lavaud | 81 | 27.7 |  |  | 1.39 | 950 |  | 6.9 |  | 85 | 27.7 |  |  | 1.13 | 1260 |  | 6.6 |  | 86 | 27.8 |  |  | 1.2 | 1590 |  | 6.7 |  | 86 | 27.5 |  |  | 1.35 | 1580 |  | 6,5
sous No
well No | 3 | Petit Harpon | 205 | 29 |  |  | 1.74 | 1780 |  | 7.2 |  | 209 | 27.5 |  |  | 1.62 | 1210 |  | 6.8 |  | 214 | 26.8 |  |  | 1.37 | 1110 |  | 6.9 |  | 214 | 26.7 |  |  | 1.35 | 1130 |  | 6.7
sous No
well No | 4 | Rte St. Andre | 245 | 28.5 |  |  | 0.55 | 750 |  | 6.8 |  | 246 | 27.8 |  |  | 0.86 | 760 |  | 6.4 |  | 248 | 28.4 |  |  | 0.96 | 720 |  | 6.3 |  | 248 | 28.2 |  |  | 0.95 | 730 |  | 6.5
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 133 | 28.9 |  |  | 1.38 | 820 |  | 6.4 |  | 135 | 29.1 |  |  | 0.83 | 860 |  | 6.3 |  | 138 | 28.8 |  |  | 0.87 | 1360 |  | 6.5 |  | 138 | 28.5 |  |  | 0.85 | 1350 |  | 6.5
sous No
well No | 7 | Rte Darbonne | 535 | 27.8 |  |  | 0.75 | 710 |  | 6.4 |  | 538 | 28.1 |  |  | 0.32 | 470 |  | 6.2 |  | 540 | 28.5 |  |  | 0.38 | 510 |  | 6.4 |  | 540 | 28.3 |  |  | 0.43 | 530 |  | 6.3
sous No
well No | 8 | Rte Belvald | 93 | 27.6 |  |  | 0.87 | 560 |  | 6.6 |  | 91 | 28.4 |  |  | 0.44 | 780 |  | 6.5 |  | 98 | 26.7 |  |  | 0.91 | 1040 |  | 6.7 |  | 98 | 26.5 |  |  | 0.93 | 1050 |  | 6.5
sous No
well No | 9 | Rte De Bire | 207 | 27.9 |  |  | 0.61 | 810 |  | 6.6 |  | 211 | 27.9 |  |  | 0.34 | 370 |  | 6.6 |  | 209 | 27.5 |  |  | 0.6 | 650 |  | 6.4 |  | 209 | 27.3 |  |  | 0.63 | 660 |  | 6.5
sous No
well No | 10 | Douane | 541 | 27.9 |  |  | 0.78 | 600 |  | 6.6 |  | 542 | 30.9 |  |  | 0.76 | 460 |  | 6.7 |  | 543 | 27.9 |  |  | 0.71 | 690 |  | 6.6 |  | 543 | 27.5 |  |  | 0.75 | 680 |  | 6.5
sous No
well No | 11 | Sigueneau | 611 | 27.5 |  |  | 0.72 | 530 |  | 6.3 |  | 613 | 28.1 |  |  | 0.58 | 580 |  | 6.1 |  | 616 | 28.4 |  |  | 0.66 | 560 |  | 6.2 |  | 616 | 28.5 |  |  | 0.68 | 580 |  | 6.3
sous No

## JIY
[30 empty] | C | [9 empty] | C
Jiye |  |  | 2022-07-02 | [8 empty] | 2022-07-09 | [8 empty] | 2022-07-16 | [8 empty] | 2022-07-23 | [9 empty] | 2022-07-30
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 92 | 28.2 |  |  | 1.36 | 1380 |  | 6.7 |  | 87 | 28.3 |  |  | 1.36 | 1050 |  | 6.4 |  | 90 | 28 |  |  | 1.35 | 1160 |  | 6.5 |  | 96 | 27.8 |  |  | 1.43 | 1350 |  | 6.3 |  |  | 94 | 28.1 |  |  | 1.46 | 1110 |  | 6.4
sous No
well No | 2 | Beloc/Lavaud | 84 | 27.5 |  |  | 1.24 | 1570 |  | 6.4 |  | 66 | 27.4 |  |  | 1.34 | 1740 |  | 6.5 |  | 64 | 27.3 |  |  | 1.33 | 1720 |  | 6.6 |  | 59 | 27.6 |  |  | 1.38 | 990 |  | 6.4 |  |  | 57 | 27.5 |  |  | 1.24 | 1010 |  | 6.4
sous No
well No | 3 | Petit Harpon | 210 | 26.5 |  |  | 1.35 | 1210 |  | 6.8 |  | 220 | 27.5 |  |  | 1.32 | 1280 |  | 6.8 |  | 220 | 27.4 |  |  | 1.3 | 1240 |  | 6.9 |  | 222 | 26.8 |  |  | 1.51 | 1160 |  | 6.7 |  |  | 222 | 27.2 |  |  | 1.41 | 1030 |  | 6.7
sous No
well No | 4 | Carrefur Dufort | 240 | 28.5 |  |  | 0.93 | 745 |  | 6.5 |  | 255 | 27.4 |  |  | 0.95 | 750 |  | 6.3 |  | 253 | 27.3 |  |  | 0.92 | 780 |  | 6.5 |  | 255 | 27.8 |  |  | 0.95 | 980 |  | 6.3 |  |  | 255 | 27.2 |  |  | 0.96 | 1210 |  | 6.2
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 135 | 28.7 |  |  | 0.85 | 1380 |  | 6.5 |  | 144 | 28.4 |  |  | 0.98 | 1590 |  | 6.5 |  | 140 | 28.3 |  |  | 0.97 | 1550 |  | 6.5 |  | 143 | 28.2 |  |  | 0.98 | 1360 |  | 6.5 |  |  | 141 | 28.9 |  |  | 1.08 | 1460 |  | 6.5
sous No
well No | 7 | Rte Darbonne | 535 | 28.3 |  |  | 0.43 | 580 |  | 6.4 |  | 547 | 27.6 |  |  | 0.73 | 490 |  | 6.3 |  | 546 | 27.5 |  |  | 0.72 | 480 |  | 6.5 |  | 589 | 27.7 |  |  | 0.75 | 510 |  | 6.3 |  |  | 549 | 27.9 |  |  | 1.08 | 510 |  | 6.1
sous No
well No | 8 | Rte Belvald | 95 | 26.5 |  |  | 0.89 | 1150 |  | 6.5 |  | 97 | 28.1 |  |  | 0.85 | 520 |  | 6.6 |  | 95 | 28 |  |  | 0.83 | 540 |  | 6.6 |  | 99 | 26.9 |  |  | 0.83 | 550 |  | 6.7 |  |  | 91 | 28.5 |  |  | 0.94 | 670 |  | 6.5
sous No
well No | 9 | Rte De Bire | 205 | 27.3 |  |  | 0.65 | 750 |  | 6.3 |  | 213 | 27.9 |  |  | 0.6 | 530 |  | 6.4 |  | 215 | 27.8 |  |  | 0.65 | 550 |  | 6.3 |  | 216 | 28.1 |  |  | 0.73 | 440 |  | 6.5 |  |  | 216 | 27.6 |  |  | 0.71 | 410 |  | 6.4
sous No
well No | 10 | Douane | 540 | 28 |  |  | 0.73 | 720 |  | 6.7 |  | 548 | 26.7 |  |  | 0.64 | 530 |  | 6.3 |  | 548 | 26.5 |  |  | 0.68 | 560 |  | 6.5 |  | 551 | 28.8 |  |  | 0.9 | 700 |  | 6.7 |  |  | 553 | 28.9 |  |  | 0.72 | 420 |  | 6.6
sous No
well No | 11 | Sigueneau | 614 | 28.5 |  |  | 0.65 | 680 |  | 6.5 |  | 620 | 28 |  |  | 0.95 | 710 |  | 6.2 |  | 610 | 28.3 |  |  | 0.98 | 750 |  | 6.1 |  | 624 | 27.7 |  |  | 0.9 | 920 |  | 6.3 |  |  | 625 | 27.7 |  |  |  | 1150 |  | 6.3
sous No

## OUT
Out |  |  | 2022-08-06 | [8 empty] | 2022-08-13 | [8 empty] | 2022-08-20 | [8 empty] | 2022-08-27
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 99 | 27.7 |  |  | 1.69 | 1200 |  | 6.3 |  | 99 | 27.5 |  |  | 1.65 | 1230 |  | 6.5 | [10 empty] | 100 | 27.3 |  |  | 1.8 | 1530 |  | 7.2
sous No
well No | 2 | Beloc/Lavaud | 61 | 27.7 |  |  | 1.35 | 930 |  | 6.4 |  | 60 | 27.5 |  |  | 1.65 | 970 |  | 6.6 | [10 empty] | 62 | 27.7 |  |  | 1.5 | 1030 |  | 6.6
sous No
well No | 3 | Petit Harpon | 222 | 26.1 |  |  | 1.43 | 1660 |  | 6.8 |  | 220 | 26.5 |  |  | 1.45 | 1680 |  | 6.9 | [10 empty] | 222 | 26.8 |  |  | 1.65 | 1460 |  | 7.1
sous No
well No | 4 | Carrefur Dufort | 257 | 27 |  |  | 0.97 | 1220 |  | 6.3 |  | 255 | 27.3 |  |  | 0.95 | 1260 |  | 6.5 | [10 empty] | 256 | 27.5 |  |  | 0.89 | 1340 |  | 6.8
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 145 | 28.9 |  |  | 1.17 | 800 |  | 6.4 |  | 146 | 28.8 |  |  | 1.19 | 820 |  | 6.6 | [10 empty] | 150 | 28.5 |  |  | 1.22 | 850 |  | 6.7
sous No
well No | 7 | Rte Darbonne | 549 | 27.5 |  |  | 1.15 | 520 |  | 6.3 |  | 548 | 27.6 |  |  | 1.13 | 550 |  | 6.5 | [10 empty] | 550 | 27.8 |  |  | 1,15 | 580 |  | 6.6
sous No
well No | 8 | Rte Belvald | 100 | 29 |  |  | 0.97 | 1020 |  | 6.6 |  | 98 | 29.2 |  |  | 0.96 | 1220 |  | 6.6 | [10 empty] | 100 | 29.5 |  |  | 0.97 | 1370 |  | 6.5
sous No
well No | 9 | Rte De Bire | 216 | 26.3 |  |  | 0.71 | 340 |  | 6.5 |  | 216 | 26.5 |  |  | 0.75 | 380 |  | 6.3 | [10 empty] | 220 | 26.9 |  |  | 0.85 | 480 |  | 6.7
sous No
well No | 10 | Douane | 553 | 28.7 |  |  | 0.7 | 530 |  | 6.5 |  | 555 | 28.5 |  |  | 0.76 | 570 |  | 6.3 | [10 empty] | 558 | 28.8 |  |  | 0.85 | 620 |  | 6.5
sous No
well No | 11 | Sigueneau | 619 | 24.4 |  |  | 1.02 | 640 |  | 6.2 |  | 620 | 25.6 |  |  | 1.05 | 680 |  | 6.5 | [10 empty] | 620 | 26.9 |  |  | 1.08 | 750 |  | 6.5
sous No

## SEP
Septanm |  |  | 2022-09-03 | [8 empty] | 2022-09-10 | [8 empty] | 2022-09-17 | [8 empty] | 2022-09-24
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 87 | 28.6 |  |  | 1.4 | 1050 |  | 6.5 |  | 97 | 28.7 |  |  | 1.35 | 1380 |  | 6.4 | [10 empty] | 99 | 28.5 |  |  | 1.55 | 1350 |  | 6.5
sous No
well No | 2 | Beloc/Lavaud | 47 | 27.3 |  |  | 1.22 | 1330 |  | 6.4 |  | 61 | 27.1 |  |  | 1.18 | 960 |  | 6.3 | [10 empty] | 60 | 27.3 |  |  | 1.26 | 980 |  | 6.7
sous No
well No | 3 | Petit Harpon | 208 | 26.2 |  |  | 1.24 | 1090 |  | 6.8 |  | 201 | 28.8 |  |  | 1.21 | 1030 |  | 6.8 | [10 empty] | 200 | 28.5 |  |  | 1.22 | 1240 |  | 6.5
sous No
well No | 4 | Carrefur Dufort | 151 | 28.6 |  |  | 1.03 | 860 |  | 6.1 |  | 218 | 28.4 |  |  | 0.82 | 650 |  | 6.3 | [10 empty] | 220 | 28.5 |  |  | 0.85 | 670 |  | 6.7
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 133 | 28.6 |  |  | 1.05 | 950 |  | 6.4 |  | 137 | 28.7 |  |  | 1.15 | 770 |  | 6.5 | [10 empty] | 135 | 28.8 |  |  | 1.23 | 790 |  | 6.4
sous No
well No | 7 | Rte Darbonne | 550 | 28 |  |  | 1.12 | 520 |  | 6.1 |  | 544 | 25.7 |  |  | 0.73 | 480 |  | 6.2 | [10 empty] | 545 | 26.7 |  |  | 0.75 | 570 |  | 6.3
sous No
well No | 8 | Rte Belvald | 79 | 28.9 |  |  | 0.99 | 1030 |  | 6.5 |  | 97 | 28.6 |  |  | 0.96 | 650 |  | 6.5 | [10 empty] | 100 | 28.9 |  |  | 0.99 | 680 |  | 6.7
sous No
well No | 9 | Rte De Bire | 200 | 26.7 |  |  | 0.75 | 540 |  | 6.6 |  | 511 | 27.8 |  |  | 0.6 | 770 |  | 6.5 | [10 empty] | 515 | 27.5 |  |  | 0.75 | 790 |  | 6.7
sous No
well No | 10 | Douane | 555 | 29.1 |  |  | 0.26 | 420 |  | 6.5 |  | 555 | 28.7 |  |  | 0.76 | 440 |  | 6.6 | [10 empty] | 557 | 28.5 |  |  | 0.79 | 550 |  | 6.7
sous No
well No | 11 | Sigueneau | 626 | 27.7 |  |  | 0.78 | 570 |  | 6.3 |  | 627 | 28.2 |  |  | 1.46 | 1130 |  | 6.2 | [10 empty] | 630 | 28.7 |  |  |  | 1320 |  | 6.5
sous No

## OCT
Octob |  |  | 2022-10-01 | [8 empty] | 2022-10-08 | [8 empty] | 2022-10-15 | [8 empty] | 2022-10-22 | [8 empty] | 2022-10-29
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere
sous No
well No | 2 | Beloc/Lavaud
sous No
well No | 3 | Petit Harpon
sous No
well No | 4 | Carrefur Dufort
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel
sous No
well No | 7 | Rte Darbonne
sous No
well No | 8 | Rte Belvald
sous No
well No | 9 | Rte De Bire
sous No
well No | 10 | Douane
sous No
well No | 11 | Sigueneau
sous No

## NOV
Novanm |  |  | 2022-11-05 | [8 empty] | 2022-11-12 | [8 empty] | 2022-11-19 | [8 empty] | 2022-11-26
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | [27 empty] | 94 | 28.3 |  |  | 1.35 | 1480 |  | 6.5
sous No
well No | 2 | Beloc/Lavaud | [27 empty] | 85 | 27.5 |  |  | 1.25 | 1580 |  | 6.7
sous No
well No | 3 | Petit Harpon | [27 empty] | 215 | 26.7 |  |  | 1.38 | 1210 |  | 6.5
sous No
well No | 4 | Carrefur Dufort | [27 empty] | 249 | 28.5 |  |  | 1.05 | 750 |  | 6.7
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | [27 empty] | 140 | 28.8 |  |  | 0.92 | 1350 |  | 6.7
sous No
well No | 7 | Rte Darbonne | [27 empty] | 550 | 27.8 |  |  | 1.25 | 520 |  | 6.5
sous No
well No | 8 | Rte Belvald | [27 empty] | 98 | 26.5 |  |  | 0.93 | 780 |  | 6.7
sous No
well No | 9 | Rte De Bire | [27 empty] | 210 | 27.6 |  |  | 0.75 | 580 |  | 6.5
sous No
well No | 10 | Douane | [27 empty] | 550 | 27.8 |  |  | 0.73 | 690 |  | 6.6
sous No
well No | 11 | Sigueneau | [27 empty] | 625 | 28.5 |  |  | 0.68 | 560 |  | 6.3
sous No

## DES
Desanm |  |  | 2022-12-03 | [8 empty] | 2022-12-10 | [8 empty] | 2022-12-17 | [8 empty] | 2022-12-24 | [8 empty] | 2022-12-31
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 94 | 28.2 |  |  | 1.45 | 112- |  | 6.5 | [10 empty] | 90 | 28.5 |  |  | 1.45 | 1090 |  | 6.5 |  | 88 | 27.5 |  |  | 1.48 | 1250 |  | 6.7 |  | 99 | 27.5 |  |  | 1.37 | 1370 |  | 5.8
sous No
well No | 2 | Beloc/Lavaud | 59 | 27.5 |  |  | 1.38 | 1030 |  | 6.4 | [10 empty] | 63 | 27.2 |  |  | 0.76 | 1880 |  | 6.3 |  | 63 | 27.8 |  |  | 0.85 | 1890 |  | 6.5 |  | 77 | 27 |  |  | 0.77 | 980 |  | 6.6
sous No
well No | 3 | Petit Harpon | 220 | 27.4 |  |  | 1.42 | 1130 |  | 6.7 | [10 empty] | 157 | 25.8 |  |  | 0.86 | 1500 |  | 6.4 |  | 155 | 26.1 |  |  | 0.92 | 1550 |  | 6.5 |  | 169 | 26 |  |  | 1.53 | 1690 |  | 6.1
sous No
well No | 4 | Carrefur Dufort | 250 | 27.3 |  |  | 0.95 | 1220 |  | 6.2 | [10 empty] | 208 | 27.2 |  |  | 0.92 | 1190 |  | 6.2 |  | 210 | 27.3 |  |  | 0.95 | 1280 |  | 6.7 |  | 211 | 27.6 |  |  | 0.42 | 980 |  | 6
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 143 | 28.2 |  |  | 1.32 | 1360 |  | 6.5 | [10 empty] | 116 | 27.8 |  |  | 0.5 | 352 |  | 6.3 |  | 116 | 27.6 |  |  | 0.65 | 380 |  | 6.5 |  | 117 | 29.3 |  |  | 0.94 | 1040 |  | 6.4
sous No
well No | 7 | Rte Darbonne | 549 | 27.9 |  |  | 1.08 | 530 |  | 6.3 | [10 empty] | 523 | 28.9 |  |  | 0.46 | 305 |  | 6.3 |  | 525 | 28.7 |  |  | 0.48 | 450 |  | 6.6 |  | 525 | 28.8 |  |  | 0.42 | 320 |  | 6.6
sous No
well No | 8 | Rte Belvald | 91 | 27.6 |  |  | 0.94 | 680 |  | 6.5 | [10 empty] | 92 | 25.3 |  |  | 1.96 | 392 |  | 8.1 |  | 92 | 26.5 |  |  | 1.98 | 420 |  | 8.3 |  | 95 | 26.5 |  |  | 0.81 | 690 |  | 6.2
sous No
well No | 9 | Rte De Bire | 216 | 28.9 |  |  | 0.75 | 450 |  | 6.7 | [10 empty] | 203 | 27.4 |  |  | 0.5 | 312 |  | 5.9 |  | 205 | 27.5 |  |  | 0.75 | 360 |  | 6.4 |  | 206 | 28.3 |  |  | 0.25 | 510 |  | 6.9
sous No
well No | 10 | Douane | 550 | 27.6 |  |  | 0.73 | 730 |  | 6.6 | [10 empty] | 537 | 26.7 |  |  | 0.83 | 511 |  | 6.4 |  | 537 | 26.6 |  |  | 0.85 | 525 |  | 6.5 |  | 537 | 27.8 |  |  | 0.28 | 440 |  | 6.7
sous No
well No | 11 | Sigueneau | 625 | 27.7 |  |  | 1.35 | 1120 |  | 6.3 | [10 empty] | 597 | 27.6 |  |  | 0.9 | 602 |  | 6.1 |  | 597 | 27.5 |  |  | 0.95 | 680 |  | 6.3 |  | 595 | 27.9 |  |  | 0.79 | 600 |  | 6.3
sous No