## Yrly OneTime
Beginning of Year Special (Janaury 14)
type |  |  | HACH Total Coliform Pres/Abs 1. Screening Test | HACH E. Coli Pres/Abs with MUG 1. Screening Test | HACH m-FecalColiform Agar [CFU/100mL] | HACH mBlue Total Coliform [CFU or MPN /100mL] | HACH mBlue E. Coli [CFU or MPN /100mL] | Hardness (YSI Kit) | Hardness (Health Metric) | Alkalinity (YSI Kit) | Alkalinity (Health Metric) | Nitrate (YSI Colorimeter) | Nitrate (Health Metric) | Nitrite (Health Metric) | Iron (YSI Colorimeter) | Copper (YSI Colorimeter) | Sulfate (YSI Colorimeter) | Manganese (Health Metric) | Hydrogen Sulfide (Health Metric)
WQ Standard |  |  |  |  | < 1 Drinking Water <235 full body cont | < 4 blue and red | < 1 red only | 0 - 60 mg/L soft 60 - 120 mod hard 120 - 180 very hard | 0 - 60 mg/L soft 60 - 120 mod hard 120 - 180 very hard | should be between 20 - 200 mg/L | should be between 20 - 200 mg/L | < 10 mg/L as Nitrate-N <45 mg/L as Nitrate NO3 | < 10 mg/L as Nitrate-N <45 mg/L as Nitrate NO3 | < 1.0 mg/L as Nitrate-N | < 0.3 mg/L | < 2.5 mg/L | < 250 mg/L | < 0.05 mg/L | [mg/L or ppm] 0 - 1 musty 1 - 2 rotten egg < 10 in general
well No | 1 | Rue Levandiere
sous No
well No | 2 | Beloc/Lavaud
sous No
well No | 3 | Petit Harpon
sous No
well No | 4 | Carrefur Dufort
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel
sous No
well No | 7 | Rte Darbonne
sous No
well No | 8 | Rte Belvald
sous No
well No | 9 | Rte De Bire
sous No | [19 empty] | gb
well No | 10 | Douane
sous No
well No | 11 | Sigueneau
sous No

## JAN
Janvier |  |  | 2021-01-02 | [8 empty] | 2021-01-09 | [8 empty] | 2021-01-16 | [8 empty] | 2021-01-23 | [8 empty] | 2021-01-30
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | "7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | [18 empty] | 94 | 27.3 |  |  | 1,45 | 1030 |  | 7 |  | 92 | 27.8 |  |  | 1.43 | 1015 |  | 6.7 |  | 98 | 26.8 |  |  | 1.54 | 1047 |  | 6.7
sous No
well No | 2 | Beloc/Lavaud | [18 empty] | 71 | 26.2 |  |  | 1.31 | 1140 |  | 7 |  | 74 | 26.3 |  |  | 1.13 | 1730 |  | 7 |  | 77 | 26.2 |  |  | 1.16 | 831 |  | 7
sous No
well No | 3 | Petit Harpon | [18 empty] | 204 | 26 |  |  | 1.38 | 870 |  | 7.1 |  | 226 | 25.7 |  |  | 1.37 | 960 |  | 7.2 |  | 225 | 25.5 |  |  | 1.35 | 962 |  | 7.1
sous No
well No | 4 | Carrefur Dufort | [18 empty] | 213 | 26.1 |  |  | 1.05 | 700 |  | 6.7 |  | 215 | 26.5 |  |  | 1.06 | 940 |  | 6.7 |  | 215 | 26.8 |  |  | 1.05 | 945 |  | 6.8
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | [18 empty] | 97 | 28.3 |  |  | 1.01 | 710 |  | 6.9 |  | 98 | 28.9 |  |  | 1.13 | 770 |  | 6.8 |  | 97 | 27.9 |  |  | 1.03 | 745 |  | 6.9
sous No
well No | 7 | Rte Darbonne | [18 empty] | 491 | 27.6 |  |  | 0.52 | 380 |  | 6.8 |  | 493 | 28.2 |  |  | 0.55 | 399 |  | 6.7 |  | 494 | 27.3 |  |  | 0.56 | 403 |  | 6.8
sous No
well No | 8 | Rte Belvald | [18 empty] | 75 | 26.5 |  |  | 0.74 | 550 |  | 6.9 |  | 76 | 26.9 |  |  | 0.71 | 513 |  | 6.9 |  | 77 | 26.3 |  |  | 0.7 | 508 |  | 6.9
sous No
well No | 9 | Rte De Bire | [18 empty] | 178 | 28.3 |  |  | 0.53 | 400 |  | 6.7 |  | 118 | 28.1 |  |  | 0.56 | 380 |  | 6.6 |  | 186 | 27.8 |  |  | 0.68 | 433 |  | 6.8
sous No
well No | 10 | Douane | [18 empty] | 483 | 27.7 |  |  | 0.55 | 439 |  | 6.7 |  | 483 | 25.9 |  |  | 0.58 | 416 |  | 6.6 |  | 487 | 27.5 |  |  | 0.63 | 549 |  | 6.6
sous No
well No | 11 | Sigueneau | [18 empty] | 561 | 27.9 |  |  | 0.64 | 458 |  | 6,7 |  | 563 | 28.1 |  |  | 0.63 | 455 |  | 6.6 |  | 564 | 27.4 |  |  | 0.74 | 505 |  | 6.6
sous No

## FEV
Fevriye |  |  | 2021-02-06 | [8 empty] | 2021-02-13 | [8 empty] | 2021-02-20 | [8 empty] | 2021-02-27
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 90 | 27.4 |  |  | 1.37 | 988 |  | 6.8 |  | 95 | 27.6 |  |  | 1.32 | 1310 |  | 6.6 |  | 97 | 27 |  |  | 1.38 | 1130 |  | 6.8 |  | 87 | 27.7 |  |  | 1.31 | 1100 |  | 6.8
sous No
well No | 2 | Beloc/Lavaud | 71 | 26.2 |  |  | 1.13 | 813 |  | 7 |  | 77 | 26.2 |  |  | 1.31 | 1900 |  | 7.1 |  | 79 | 26.2 |  |  | 1.36 | 1810 |  | 7.1 |  | 70 | 26 |  |  | 1.27 | 1480 |  | 7.1
sous No
well No | 3 | Petit Harpon | 215 | 26.5 |  |  | 1.43 | 970 |  | 7 |  | 223 | 26.1 |  |  | 1.33 | 1280 |  | 7 |  | 230 | 26 |  |  | 1.31 | 1270 |  | 7 |  | 220 | 24.6 |  |  | 1.44 | 1170 |  | 7.1
sous No
well No | 4 | Carrefur Dufort | 214 | 27.2 |  |  | 1.15 | 772 |  | 6.7 |  | 215 | 27 |  |  | 1.01 | 1110 |  | 6.8 |  | 218 | 27.5 |  |  | 1.06 | 1550 |  | 6.8 |  | 220 | 26.1 |  |  | 1.21 | 1040 |  | 6.8
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 98 | 28 |  |  | 1.24 | 839 |  | 6.8 |  | 103 | 28.4 |  |  | 1.04 | 790 |  | 6.9 |  | 102 | 28 |  |  | 1.07 | 750 |  | 6.8 |  | 100 | 27.5 |  |  | 1.11 | 1610 |  | 6.9
sous No
well No | 7 | Rte Darbonne | 495 | 27.9 |  |  | 0.6 | 405 |  | 6.7 |  | 495 | 27.5 |  |  | 0.66 | 450 |  | 6.8 |  | 496 | 28.5 |  |  | 0.86 | 430 |  | 6.8 |  | 495 | 27.6 |  |  | 0.9 | 480 |  | 7
sous No
well No | 8 | Rte Belvald | 80 | 23.8 |  |  | 0.92 | 611 |  | 6.9 |  | 79 | 27 |  |  | 0.94 | 700 |  | 6.9 |  | 79 | 26.6 |  |  | 0.94 | 5080 |  | 6.9 |  | 78 | 26.5 |  |  | 0.96 | 5090 |  | 7.1
sous No
well No | 9 | Rte De Bire | 187 | 27.7 |  |  | 0.71 | 774 |  | 6.8 |  | 189 | 28.1 |  |  | 0.7 | 420 |  | 6.8 |  | 191 | 27.5 |  |  | 0.58 | 470 |  | 6.8 |  | 190 | 27.7 |  |  | 0.6 | 500 |  | 6.9
sous No
well No | 10 | Douane | 487 | 27.7 |  |  | 0.72 | 496 |  | 6.6 |  | 488 | 27.3 |  |  | 0.81 | 520 |  | 6.6 |  | 491 | 27.5 |  |  | 0.94 | 560 |  | 6.6 |  | 490 | 26.5 |  |  | 0.97 | 650 |  | 6.8
sous No
well No | 11 | Sigueneau | 568 | 27.8 |  |  | 0.86 | 576 |  | 6.6 |  | 566 | 27.7 |  |  | 0.67 | 660 |  | 6.7 |  | 568 | 27.7 |  |  | 0.74 | 580 |  | 6.6 |  | 568 | 28 |  |  | 0.8 | 590 |  | 6.8
sous No

## MAS
Mas |  |  | 2021-03-06 | [8 empty] | 2021-03-13 | [8 empty] | 2021-03-20 | [8 empty] | 2021-03-27
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Lavandriere | 87 | 27.3 |  |  | 1.38 | 1060 |  | 6.8 |  | 83 | 27.5 |  |  | 1.26 | 940 |  | 6.8 |  | 88 | 27.2 |  |  | 1.32 | 980 |  | 6.7 |  | 82 | 27.6 |  |  | 1.4 | 1020 |  | 6.8
sous No
well No | 2 | Beloc/Lavaud | 74 | 26.4 |  |  | 1.38 | 1410 |  | 7.1 |  | 52 | 26.2 |  |  | 1.23 | 1300 |  | 6.8 |  | 62 | 26.7 |  |  | 1.26 | 900 |  | 6.8 |  | 55 | 26.8 |  |  | 1.23 | 900 |  | 6.8
sous No
well No | 3 | Petit Hapon | 229 | 26.1 |  |  | 1.43 | 1050 |  | 7.1 |  | 216 | 25.1 |  |  | 1.29 | 1040 |  | 7.2 |  | 216 | 26.5 |  |  | 1.2 | 880 |  | 7.1 |  | 204 | 27.1 |  |  | 1.17 | 870 |  | 7.1
sous No
well No | 4 | Rte St Andre | 223 | 27.5 |  |  | 1.08 | 1220 |  | 6.8 |  | 219 | 26.6 |  |  | 0.97 | 800 |  | 6.8 |  | 219 | 27.8 |  |  | 0.98 | 690 |  | 6.8 |  | 209 | 26.7 |  |  | 0.92 | 660 |  | 6.8
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 102 | 28.2 |  |  | 1.1 | 780 |  | 6.8 |  | 76 | 28.8 |  |  | 0.99 | 826 |  | 6.7 |  | 98 | 27.9 |  |  | 1.09 | 790 |  | 6.7 |  | 88 | 28.7 |  |  | 1.04 | 760 |  | 6.7
sous No
well No | 7 | Rte Darbonne | 498 | 27.6 |  |  | 0.55 | 440 |  | 6.6 |  | 497 | 28.1 |  |  | 0.58 | 580 |  | 6.8 |  | 496 | 27.6 |  |  | 0.51 | 380 |  | 6.7 |  | 496 | 27.5 |  |  | 0;53 | 380 |  | 6.6
sous No
well No | 8 | Rte Belval | 81 | 24.9 |  |  | 0.76 | 560 |  | 7 |  | 73 | 24.9 |  |  | 0.72 | 730 |  | 6.8 |  | 79 | 27.1 |  |  | 0.73 | 510 |  | 6.8 |  | 75 | 25.1 |  |  | 0.83 | 590 |  | 6.8
sous No
well No | 9 | Rte De Bire | 195 | 28.3 |  |  | 0.51 | 540 |  | 6.9 |  | 192 | 28 |  |  | 0.48 | 430 |  | 6.9 |  | 195 | 28 |  |  | 0.45 | 350 |  | 6.8 |  | 188 | 25.9 |  |  | 0.48 | 350 |  | 6.8
sous No
well No | 10 | Douane | 493 | 27.6 |  |  | 6.7 | 380 |  | 6.7 |  | 496 | 28.4 |  |  | 0.52 | 490 |  | 6.6 |  | 496 | 27.6 |  |  | 0.5 | 330 |  | 6.6 |  | 494 | 28.2 |  |  | 0.49 | 360 |  | 6.6
sous No
well No | 11 | Sigueneau | 571 | 28 |  |  | 0.66 | 490 |  | 6.7 |  | 563 | 28.6 |  |  | 0.67 | 466 |  | 6.5 |  | 572 | 27.7 |  |  | 0.62 | 450 |  | 6.5 |  | 576 | 26 |  |  | 0.56 | 440 |  | 6.1
sous No

## AVR
Avril |  |  | 2021-04-03 | [8 empty] | 2021-04-10 | [8 empty] | 2021-04-17 | [8 empty] | 2021-04-24
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 80 | 27.5 |  |  | 1.45 | 1030 |  | 6.8 |  | 75 | 27.7 |  |  | 1.49 | 1100 |  | 6.5 |  | 89 | 28.3 |  |  | 1.47 | 1050 |  | 6.7 |  | 93 | 28.1 |  |  | 1.38 | 1010 |  | 6.6
sous No
well No | 2 | Beloc/Lavaud | 52 | 26.5 |  |  | 1.25 | 910 |  | 6.9 |  | 59 | 27 |  |  | 1.24 | 890 |  | 6.7 |  | 61 | 25.8 |  |  | 1.2 | 870 |  | 6.8 |  | 69 | 27.2 |  |  | 1,17 | 860 |  | 6.8
sous No
well No | 3 | Petit Harpon | 204 | 27 |  |  | 1.2 | 880 |  | 7 |  | 203 | 27 |  |  | 1.15 | 910 |  | 7 |  | 208 | 25.8 |  |  | 1.2 | 870 |  | 7.2 |  | 213 | 25.1 |  |  | 1.18 | 860 |  | 7.1
sous No
well No | 4 | Carrefur Dufort | 210 | 26.5 |  |  | 0.95 | 670 |  | 6.8 |  | 208 | 27.2 |  |  | 0.98 | 710 |  | 6.8 |  | 207 | 26.6 |  |  | 0.99 | 710 |  | 6.7 |  | 210 | 28.5 |  |  | 1 | 720 |  | 6.6
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 88 | 28.5 |  |  | 1.06 | 780 |  | 6.8 |  | 90 | 28.1 |  |  | 0.98 | 740 |  | 6.7 |  | 96 | 29.1 |  |  | 0.99 | 740 |  | 6.7 |  | 101 | 28.2 |  |  | 1.02 | 740 |  | 6.7
sous No
well No | 7 | Rte Darbonne | 496 | 27.6 |  |  | 0.55 | 400 |  | 6.9 |  | 493 | 27.6 |  |  | 0.5 | 480 |  | 6.7 |  | 492 | 28.3 |  |  | 0.5 | 370 |  | 6.8 |  | 494 | 28.2 |  |  | 0.52 | 390 |  | 6.8
sous No
well No | 8 | Rte Belvald | 75 | 25 |  |  | 0.85 | 695 |  | 6.8 |  | 74 | 26.9 |  |  | 0.73 | 540 |  | 6.8 |  | 80 | 28.5 |  |  | 0.68 | 500 |  | 6.8 |  | 79 | 27.7 |  |  | 0.68 | 500 |  | 6.8
sous No
well No | 9 | Rte De Bire | 188 | 26 |  |  | 0.47 | 370 |  | 6.9 |  | 187 | 27.3 |  |  | 0.49 | 360 |  | 6.8 |  | 190 | 28.4 |  |  | 0.48 | 350 |  | 6.8 |  | 189 | 28.3 |  |  | 0.49 | 360 |  | 6.8
sous No
well No | 10 | Douane | 494 | 28.2 |  |  | 0.5 | 380 |  | 6.7 |  | 494 | 28 |  |  | 0.51 | 360 |  | 6.6 |  | 494 | 28.2 |  |  | 0.49 | 360 |  | 6.6 |  | 496 | 27.9 |  |  | 0.49 | 370 |  | 6.5
sous No
well No | 11 | Sigueneau | 576 | 26.5 |  |  | 0.59 | 450 |  | 6.8 |  | 572 | 27.7 |  |  | 0.62 | 430 |  | 6.7 |  | 570 | 28.3 |  |  | 0.58 | 440 |  | 6.5 |  | 576 | 28 |  |  | 0.61 | 440 |  | 6.6
sous No

## MAY
May |  |  | 2021-05-01 | [8 empty] | 2021-05-08 | [8 empty] | 2021-05-15 | [8 empty] | 2021-05-22 | [8 empty] | 2021-05-29
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 60 | 28.5 |  |  | 1.3 | 1020 |  | 6.5 |  | 71 | 27.4 |  |  | 1.55 | 1130 |  | 6.6 |  | 82 | 28 |  |  | 1.55 | 1140 |  | 6.6 |  | 86 | 28 |  |  | 1.47 | 1080 |  | 6.7 |  | 71 | 28.6 |  |  | 71 | 1070 |  | 6.6
sous No
well No | 2 | Beloc/Lavaud | 41 | 27.4 |  |  | 1.34 | 860 |  | 6.7 |  | 49 | 27 |  |  | 1.16 | 810 |  | 6.7 |  | 54 | 27.4 |  |  | 1.13 | 820 |  | 6.7 |  | 60 | 27.3 |  |  | 1.22 | 850 |  | 6.6 |  | 55 | 27.5 |  |  | 1.22 | 860 |  | 6.7
sous No
well No | 3 | Petit Harpon | 190 | 26.5 |  |  | 1.2 | 860 |  | 7.3 |  | 158 | 26.4 |  |  | 1.29 | 910 |  | 7.2 |  | 166 | 27.2 |  |  | 1.27 | 930 |  | 7.2 |  | 174 | 27 |  |  | 1.31 | 950 |  | 7.2 |  | 179 | 26.3 |  |  | 1.31 | 940 |  | 7.2
sous No
well No | 4 | Carrefur Dufort | 185 | 28.6 |  |  | 1.15 | 750 |  | 6.8 |  | 204 | 27.2 |  |  | 1.09 | 760 |  | 6.5 |  | 204 | 28.1 |  |  | 1.06 | 750 |  | 6.6 |  | 204 | 27.7 |  |  | 1.12 | 770 |  | 6.6 |  | 207 | 26.5 |  |  | 1.05 | 750 |  | 6.5
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 85 | 28 |  |  | 1.06 | 740 |  | 6.9 |  | 80 | 28.1 |  |  | 1.09 | 800 |  | 6.7 |  | 88 | 28.3 |  |  | 1.03 | 750 |  | 6.7 |  | 88 | 28.3 |  |  | 1.01 | 740 |  | 6.7 |  | 89 | 29 |  |  | 1.02 | 730 |  | 6.6
sous No
well No | 7 | Rte Darbonne | 490 | 28.2 |  |  | 0.55 | 400 |  | 6.9 |  | 485 | 27.7 |  |  | 0.51 | 390 |  | 6.7 |  | 482 | 28 |  |  | 0.52 | 380 |  | 6.7 |  | 482 | 27.9 |  |  | 0.55 | 780 |  | 6.6 |  | 480 | 26.6 |  |  | 0.51 | 380 |  | 6.7
sous No
well No | 8 | Rte Belvald | 50 | 27.8 |  |  | 0.69 | 500 |  | 6.7 |  | 56 | 25.4 |  |  | 0.88 | 630 |  | 6.8 |  | 66 | 27.5 |  |  | 0.78 | 580 |  | 6.7 |  | 73 | 27.3 |  |  | 0.74 | 550 |  | 6.7 |  | 67 | 27.1 |  |  | 0.75 | 540 |  | 6.7
sous No
well No | 9 | Rte De Bire | 160 | 28.2 |  |  | 0.5 | 360 |  | 6.8 |  | 188 | 28.1 |  |  | 0.46 | 340 |  | 6.8 |  | 183 | 28.3 |  |  | 0.49 | 360 |  | 6.7 |  | 185 | 27.2 |  |  | 0.49 | 350 |  | 6.7 |  | 184 | 25.7 |  |  | 0.51 | 370 |  | 6.7
sous No
well No | 10 | Douane | 490 | 28 |  |  | 0.5 | 380 |  | 6.6 |  | 498 | 27.8 |  |  | 0.48 | 360 |  | 6.5 |  | 494 | 28.3 |  |  | 0.51 | 370 |  | 6.6 |  | 493 | 27.9 |  |  | 0.49 | 360 |  | 6.6 |  | 492 | 28.2 |  |  | 0.51 | 370 |  | 6.6
sous No
well No | 11 | Sigueneau | 570 | 28.3 |  |  | 0.65 | 450 |  | 6.7 |  | 570 | 28.1 |  |  | 0.62 | 430 |  | 6.6 |  | 564 | 27.6 |  |  | 0.62 | 540 |  | 6.7 |  | 561 | 27.8 |  |  | 0.63 | 460 |  | 6.5 |  | 560 | 27.7 |  |  | 0.66 | 470 |  | 6.5
sous No

## JEN
Jen |  |  | 2021-06-05 | [8 empty] | 2021-06-12 | [8 empty] | 2021-06-19 | [8 empty] | 2021-06-24
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 81 | 29.2 |  |  | 1.43 | 1080 |  | 6.7 |  | 80 | 29.5 |  |  | 1,46 | 1070 |  | 6.8 |  | 81 | 29.4 |  |  | 1.45 | 1080 |  | 6.5 |  | 78 | 28 |  |  | 1.48 | 1080 |  | 6.6
sous No
well No | 2 | Beloc/Lavaud | 57 | 27.3 |  |  | 1.19 | 860 |  | 6.7 |  | 55 | 27.5 |  |  | 1.17 | 850 |  | 6.7 |  | 60 | 27.9 |  |  | 1.17 | 840 |  | 6.7 |  | 57 | 27.3 |  |  | 1.15 | 860 |  | 6.6
sous No
well No | 3 | Petit Harpon | 178 | 26.5 |  |  | 1.22 | 930 |  | 7 |  | 177 | 26.7 |  |  | 1.24 | 950 |  | 7.2 |  | 171 | 27.5 |  |  | 1.26 | 920 |  | 7 |  | 117 | 25 |  |  | 1.23 | 920 |  | 6.9
sous No
well No | 4 | Rte St. Andre | 204 | 27.8 |  |  | 1.01 | 730 |  | 6.3 |  | 202 | 27.9 |  |  | 1.06 | 740 |  | 6.5 |  | 207 | 28.1 |  |  | 0.94 | 710 |  | 6.4 |  | 207 | 27.9 |  |  | 0.93 | 690 |  | 6.4
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 89 | 28.6 |  |  | 0.99 | 720 |  | 7.6 |  | 88 | 28.5 |  |  | 1.01 | 730 |  | 7,5 |  | 82 | 28.9 |  |  | 1 | 750 |  | 6.6 |  | 78 | 28.8 |  |  | 0.98 | 720 |  | 6.6
sous No
well No | 7 | Rte Darbonne | 480 | 27.8 |  |  | 0.52 | 330 |  | 6.5 |  | 480 | 27,9 |  |  | 0.55 | 350 |  | 6.6 |  | 475 | 27.8 |  |  | 0.51 | 380 |  | 6.6 |  | 473 | 28.2 |  |  | 0.48 | 370 |  | 6.6
sous No
well No | 8 | Rte Belvald | 70 | 28.2 |  |  | 0.66 | 500 |  | 6.7 |  | 70 | 28.1 |  |  | 0.68 | 500 |  | 6.8 |  | 72 | 26.1 |  |  | 0.67 | 500 |  | 6.7 |  | 65 | 25.6 |  |  | 0.73 | 540 |  | 6.6
sous No
well No | 9 | Rte De Bire | 183 | 27.9 |  |  | 0.51 | 370 |  | 6.7 |  | 180 | 27.8 |  |  | 0.5 | 380 |  | 6.7 |  | 178 | 28.5 |  |  | 0.49 | 360 |  | 6.8 |  | 180 | 28.6 |  |  | 0.49 | 380 |  | 6.4
sous No
well No | 10 | Douane | 493 | 27.4 |  |  | 0.5 | 360 |  | 6.4 |  | 493 | 27.5 |  |  | 0.52 | 370 |  | 6.5 |  | 491 | 28.3 |  |  | 0.5 | 380 |  | 6.4 |  | 495 | 28.3 |  |  | 0.5 | 370 |  | 6.4
sous No
well No | 11 | Sigueneau | 559 | 27.7 |  |  | 0.67 | 490 |  | 6.5 |  | 559 | 27.7 |  |  | 0.68 | 500 |  | 6.6 |  | 561 | 28.1 |  |  | 0.68 | 500 |  | 6.5 |  | 555 | 28.7 |  |  | 0.65 | 490 |  | 6.4
sous No

## JIY
[30 empty] | C | [9 empty] | C
Jiye |  |  | 2021-07-03 | [8 empty] | 2021-07-10 | [8 empty] | 2021-07-17 | [8 empty] | 2021-07-24 | [9 empty] | 2021-07-31
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 78 | 28.2 |  |  | 1.5 | 1090 |  | 6.7 |  | 84 | 28.1 |  |  | 1.46 | 1070 |  | 6.6 |  | 85 | 28.3 |  |  | 1.48 | 1080 |  | 6.7 |  | 85 | 28.7 |  |  | 1.39 | 1010 |  | 6.5 |  |  | 85 | 28.5 |  |  | 1.44 | 1060 |  | 6.4
sous No
well No | 2 | Beloc/Lavaud | 57 | 27.5 |  |  | 1.17 | 870 |  | 6.7 |  | 62 | 28.1 |  |  | 1.17 | 850 |  | 6.6 |  | 63 | 28.5 |  |  | 1.23 | 860 |  | 6.6 |  | 69 | 28 |  |  | 1.16 | 860 |  | 6.7 |  |  | 67 | 27.7 |  |  | 1.17 | 860 |  | 6.8
sous No
well No | 3 | Petit Harpon | 118 | 26.5 |  |  | 1.25 | 930 |  | 7 |  | 182 | 27.2 |  |  | 1.25 | 910 |  | 6.9 |  | 183 | 27.5 |  |  | 1.27 | 920 |  | 6.9 |  | 190 | 27.4 |  |  | 1.28 | 950 |  | 6.8 |  |  | 192 | 26.7 |  |  | 1.27 | 950 |  | 7
sous No
well No | 4 | Carrefur Dufort | 208 | 28 |  |  | 0.95 | 695 |  | 6.5 |  | 207 | 28.1 |  |  | 0.96 | 690 |  | 6.5 |  | 208 | 28.5 |  |  | 0.97 | 680 |  | 6.7 |  | 210 | 28.4 |  |  | 0.92 | 670 |  | 6.3 |  |  | 212 | 28.2 |  |  | 0.92 | 670 |  | 6.2
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 78 | 28.9 |  |  | 0.99 | 730 |  | 6.6 |  | 84 | 28.1 |  |  | 0.98 | 720 |  | 6.6 |  | 85 | 28.3 |  |  | 0.97 | 730 |  | 6.7 |  | 90 | 28.8 |  |  | 0.99 | 730 |  | 6.5 |  |  | 89 | 28.5 |  |  | 0.99 | 730 |  | 6.4
sous No
well No | 7 | Rte Darbonne | 473 | 28.5 |  |  | 0.49 | 380 |  | 6.6 |  | 474 | 28.2 |  |  | 0.84 | 370 |  | 6.6 |  | 475 | 28.1 |  |  | 0.85 | 380 |  | 6.6 |  | 476 | 28 |  |  | 0.47 | 360 |  | 6.5 |  |  | 480 | 28.7 |  |  | 0.49 | 360 |  | 6.6
sous No
well No | 8 | Rte Belvald | 66 | 25.7 |  |  | 0.75 | 550 |  | 6.6 |  | 72 | 26.2 |  |  | 0.75 | 520 |  | 6.6 |  | 72 | 26.5 |  |  | 0.75 | 520 |  | 6.6 |  | 74 | 28.3 |  |  | 0.69 | 505 |  | 6.6 |  |  | 73 | 28.6 |  |  | 0.72 | 520 |  | 6.5
sous No
well No | 9 | Rte De Bire | 180 | 28.5 |  |  | 0.53 | 390 |  | 6.5 |  | 180 | 27.6 |  |  | 0.54 | 400 |  | 6.5 |  | 180 | 27.5 |  |  | 0.55 | 420 |  | 6.6 |  | 180 | 28.3 |  |  | 0.54 | 400 |  | 6.4 |  |  | 186 | 28.2 |  |  | 0.54 | 400 |  | 6.5
sous No
well No | 10 | Douane | 495 | 28.3 |  |  | 0.55 | 380 |  | 6.5 |  | 507 | 28.1 |  |  | 0.59 | 420 |  | 6.7 |  | 5.7 | 28 |  |  | 0.58 | 420 |  | 6.7 |  | 508 | 28.1 |  |  | 0.53 | 410 |  | 6.7 |  |  | 509 | 28.7 |  |  | 0.53 | 390 |  | 6.9
sous No
well No | 11 | Sigueneau | 556 | 28.6 |  |  | 0.68 | 495 |  | 6.5 |  | 554 | 28.5 |  |  | 0.74 | 540 |  | 6.4 |  | 556 | 28.5 |  |  | 0.75 | 540 |  | 6.5 |  | 556 | 27.8 |  |  | 0.61 | 470 |  | 6.4 |  |  | 569 | 28.5 |  |  | 0.65 | 500 |  | 6.5
sous No

## OUT
Out |  |  | 2021-08-07 | [8 empty] | 2021-08-14 | [8 empty] | 2021-08-21 | [8 empty] | 2021-08-28
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 79 | 29.2 |  |  | 1.36 | 1060 |  | 6.5 |  | 82 | 28.7 |  |  | 1.3 | 270 |  | 7.9 |  | 83 | 28.6 |  |  | 1.46 | 1070 |  | 6.5 |  | 76 | 28.8 |  |  | 1.42 | 1030 |  | 6.5
sous No
well No | 2 | Beloc/Lavaud | 66 | 28.2 |  |  | 1.16 | 860 |  | 6.6 |  | 60 | 28.1 |  |  | 1.18 | 860 |  | 6.5 |  | 53 | 27.9 |  |  | 1.19 | 870 |  | 6.6 |  | 52 | 27.7 |  |  | 1.18 | 860 |  | 6.5
sous No
well No | 3 | Petit Harpon | 195 | 26.9 |  |  | 1.23 | 910 |  | 6.8 |  | 190 | 27.2 |  |  | 1.21 | 900 |  | 6.9 |  | 181 | 27.3 |  |  | 1.22 | 900 |  | 6.9 |  | 172 | 25.8 |  |  | 1.23 | 900 |  | 6.8
sous No
well No | 4 | Carrefur Dufort | 212 | 25.7 |  |  | 0.9 | 670 |  | 6.3 |  | 212 | 27.7 |  |  | 0.91 | 680 |  | 6.4 |  | 211 | 28 |  |  | 0.9 | 660 |  | 6.3 |  | 210 | 27 |  |  | 0.89 | 660 |  | 6.3
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 86 | 28.9 |  |  | 0.97 | 710 |  | 6.5 |  | 87 | 28.5 |  |  | 1 | 730 |  | 6.5 |  | 78 | 28.6 |  |  | 1.03 | 760 |  | 6.5 |  | 79 | 28.9 |  |  | 1.03 | 750 |  | 6.5
sous No
well No | 7 | Rte Darbonne | 480 | 29.1 |  |  | 0.46 | 350 |  | 6.6 |  | 480 | 28 |  |  | 0.45 | 380 |  | 6.6 |  | 478 | 28.6 |  |  | 0.5 | 360 |  | 6.6 |  | 478 | 28.5 |  |  | 0.55 | 380 |  | 6.6
sous No
well No | 8 | Rte Belvald | 68 | 27.9 |  |  | 0.79 | 590 |  | 6.5 |  | 70 | 28.9 |  |  | 0.73 | 520 |  | 6.6 |  | 70 | 27.1 |  |  | 0.76 | 550 |  | 6.6 |  | 69 | 28 |  |  | 0.75 | 560 |  | 6.6
sous No
well No | 9 | Rte De Bire | 184 | 28.6 |  |  | 0.53 | 400 |  | 6.7 |  | 184 | 28.3 |  |  | 0.54 | 400 |  | 6.5 |  | 182 | 28.8 |  |  | 0.51 | 370 |  | 6.6 |  | 180 | 27 |  |  | 0.51 | 370 |  | 6.4
sous No
well No | 10 | Douane | 508 | 29.1 |  |  | 0.52 | 390 |  | 6.7 |  | 510 | 28.7 |  |  | 0.54 | 400 |  | 6.7 |  | 507 | 28.7 |  |  | 0.53 | 390 |  | 6.7 |  | 504 | 28.8 |  |  | 0.55 | 400 |  | 6.6
sous No
well No | 11 | Sigueneau | 565 | 28.5 |  |  | 0.67 | 480 |  | 6.5 |  | 558 | 28.5 |  |  | 0.65 | 480 |  | 6.4 |  | 558 | 28.5 |  |  | 0.69 | 500 |  | 6.4 |  | 558 | 27 |  |  | 0.69 | 510 |  | 6.3
sous No

## SEP
Septanm |  |  | 2021-09-04 | [8 empty] | 2021-09-11 | [8 empty] | 2021-09-18 | [8 empty] | 2021-09-25
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 86 | 28.7 |  |  | 1.39 | 1020 |  | 6.5 |  | 86 | 28.5 |  |  | 1.29 | 1030 |  | 6.5 |  | 79 | 28.4 |  |  | 1.4 | 1030 |  | 6.4 |  | 83 | 28.7 |  |  | 1.43 | 1050 |  | 6.4
sous No
well No | 2 | Beloc/Lavaud | 63 | 28.2 |  |  | 1.18 | 860 |  | 6.5 |  | 63 | 28.3 |  |  | 1.16 | 850 |  | 6.5 |  | 65 | 27.3 |  |  | 1.18 | 860 |  | 6.4 |  | 62 | 28.3 |  |  | 1.2 | 850 |  | 6.4
sous No
well No | 3 | Petit Harpon | 190 | 27.4 |  |  | 1.25 | 910 |  | 6.9 |  | 190 | 27.5 |  |  | 1.26 | 920 |  | 6.8 |  | 184 | 27.5 |  |  | 1.31 | 950 |  | 6.7 |  | 186 | 26.8 |  |  | 1.26 | 940 |  | 6.7
sous No
well No | 4 | Carrefur Dufort | 211 | 27.3 |  |  | 0.92 | 660 |  | 6.4 |  | 211 | 27.4 |  |  | 0.93 | 650 |  | 6.2 |  | 209 | 27.9 |  |  | 0.93 | 670 |  | 6.4 |  | 210 | 26.9 |  |  | 0.91 | 660 |  | 6.2
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 87 | 28.6 |  |  | 1.01 | 740 |  | 6.5 |  | 87 | 28.5 |  |  | 1.02 | 760 |  | 6,6 |  | 85 | 28.6 |  |  | 1 | 730 |  | 6.5 |  | 83 | 29.1 |  |  | 0.98 | 710 |  | 6.4
sous No
well No | 7 | Rte Darbonne | 476 | 28.5 |  |  | 0.5 | 360 |  | 6.5 |  | 476 | 28.4 |  |  | 0.55 | 360 |  | 6.6 |  | 475 | 28.1 |  |  | 0.84 | 360 |  | 6.5 |  | 477 | 28.3 |  |  | 0.48 | 370 |  | 6.5
sous No
well No | 8 | Rte Belvald | 70 | 27.9 |  |  | 0.77 | 540 |  | 6.6 |  | 70 | 27.9 |  |  | 0,78 | 550 |  | 6.7 |  | 70 | 28.8 |  |  | 0.75 | 520 |  | 6.8 |  | 70 | 26.7 |  |  | 0.71 | 510 |  | 6.6
sous No
well No | 9 | Rte De Bire | 177 | 28.9 |  |  | 0.55 | 380 |  | 6.4 |  | 177 | 28.8 |  |  | 0.65 | 390 |  | 6.5 |  | 178 | 28.4 |  |  | 0.52 | 390 |  | 6.4 |  | 172 | 28.8 |  |  | 0.48 | 370 |  | 6.7
sous No
well No | 10 | Douane | 501 | 29.2 |  |  | 0.64 | 440 |  | 6.7 |  | 502 | 29.3 |  |  | 0.65 | 450 |  | 6.8 |  | 498 | 28.1 |  |  | 0.61 | 450 |  | 6.5 |  | 494 | 30.5 |  |  | 0.7 | 510 |  | 6.7
sous No
well No | 11 | Sigueneau | 554 | 28.5 |  |  | 0.74 | 540 |  | 6.3 |  | 554 | 28.6 |  |  | 0.75 | 550 |  | 6.5 |  | 549 | 27.9 |  |  | 0.7 | 500 |  | 6.5 |  | 553 | 28.8 |  |  | 0.66 | 490 |  | 6.4
sous No

## OCT
Octob |  |  | 2021-10-02 | [8 empty] | 2021-10-09 | [8 empty] | 2021-10-16 | [8 empty] | 2021-10-23 | [8 empty] | 2021-10-30
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 74 | 28 |  |  | 1.44 | 1070 |  | 6.4 |  | 74 | 28.3 |  |  | 1,46 | 1060 |  | 6.5
sous No
well No | 2 | Beloc/Lavaud | 43 | 27.5 |  |  | 1.2 | 850 |  | 6.4 |  | 43 | 27.6 |  |  | 1.25 | 860 |  | 6.5
sous No
well No | 3 | Petit Harpon | 172 | 27.1 |  |  | 1.26 | 930 |  | 6.9 |  | 172 | 27 |  |  | 1.28 | 920 |  | 7
sous No
well No | 4 | Carrefur Dufort | 207 | 27.8 |  |  | 0.93 | 680 |  | 6.2 |  | 205 | 27.9 |  |  | 0.95 | 670 |  | 6.5
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 71 | 28.1 |  |  | 0.98 | 740 |  | 6.5 |  | 70 | 28 |  |  | 0.97 | 750 |  | 6.6
sous No
well No | 7 | Rte Darbonne | 476 | 27.7 |  |  | 0.49 | 370 |  | 6.5 |  | 476 | 27.5 |  |  | 0.52 | 380 |  | 6.6
sous No
well No | 8 | Rte Belvald | 69 | 28.6 |  |  | 0.7 | 520 |  | 6.5 |  | 69 | 28,5 |  |  | 0.75 | 530 |  | 6.7
sous No
well No | 9 | Rte De Bire | 169 | 28.4 |  |  | 0.51 | 390 |  | 6.5 |  | 170 | 28.5 |  |  | 0.64 | 400 |  | 6.4
sous No
well No | 10 | Douane | 488 | 25.9 |  |  | 0.76 | 570 |  | 6.6 |  | 488 | 26 |  |  | 0.77 | 580 |  | 6.7
sous No
well No | 11 | Sigueneau | 546 | 27.9 |  |  | 0.67 | 500 |  | 6.4 |  | 545 | 28 |  |  | 0.69 | 520 |  | 6.8
sous No

## NOV
Novanm |  |  | 11/6/27/2021 | [8 empty] | 2021-11-13 | [8 empty] | 2021-11-20 | [8 empty] | 2021-11-27
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 89 | 28.3 |  |  | 1.46 | 1050 |  | 6.6 |  | 84 | 28.6 |  |  | 1.49 | 1100 |  | 6.4 |  | 87 | 28.3 |  |  | 1.42 | 1940 |  | 6.4 |  | 85 | 27.8 |  |  | 1.77 | 1100 |  | 6.7
sous No
well No | 2 | Beloc/Lavaud | 68 | 27.2 |  |  | 1.15 | 850 |  | 6.5 |  | 60 | 25.6 |  |  | 1.17 | 858 |  | 6.4 |  | 64 | 26.3 |  |  | 1.23 | 1600 |  | 6.4 |  | 64 | 25.9 |  |  | 1.58 | 1620 |  | 6.7
sous No
well No | 3 | Petit Harpon | 182 | 26.6 |  |  | 1.46 | 1030 |  | 6.8 |  | 167 | 26.8 |  |  | 1.34 | 990 |  | 6.8 |  | 181 | 25.9 |  |  | 1.4 | 1540 |  | 6.7 |  | 175 | 27 |  |  | 1.85 | 1820 |  | 7
sous No
well No | 4 | Carrefur Dufort | 210 | 28.1 |  |  | 0.97 | 700 |  | 6.4 |  | 211 | 26.4 |  |  | 0.93 | 680 |  | 6.4 |  | 208 | 28 |  |  | 0.93 | 1280 |  | 6.3 |  | 209 | 27.7 |  |  | 1.49 | 1600 |  | 6.5
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 93 | 28.4 |  |  | 0.96 | 720 |  | 6.4 |  | 90 | 28.8 |  |  | 0.95 | 690 |  | 6.6 |  | 91 | 28.3 |  |  | 0.97 | 1460 |  | 6.4 |  | 90 | 27.7 |  |  | 1.35 | 1780 |  | 6.6
sous No
well No | 7 | Rte Darbonne | 479 | 28.2 |  |  | 0.48 | 370 |  | 6.5 |  | 479 | 28.5 |  |  | 0.49 | 390 |  | 6.5 |  | 484 | 27.9 |  |  | 0.5 | 390 |  | 6.4 |  | 485 | 27.8 |  |  | 0.57 | 460 |  | 6.6
sous No
well No | 8 | Rte Belvald | 69 | 28.8 |  |  | 0.73 | 530 |  | 6.7 |  | 68 | 26.9 |  |  | 0.74 | 530 |  | 6.5 |  | 69 | 27.9 |  |  | 0.73 | 540 |  | 6.7 |  | 71 | 27.5 |  |  | 0.89 | 610 |  | 6.8
sous No
well No | 9 | Rte De Bire | 177 | 28.1 |  |  | 0.54 | 400 |  | 6.5 |  | 174 | 26.2 |  |  | 0.6 | 390 |  | 6.4 |  | 176 | 28.3 |  |  | 0.55 | 440 |  | 6.4 |  | 176 | 27.9 |  |  | 0.89 | 480 |  | 6.8
sous No
well No | 10 | Douane | 487 | 28.3 |  |  | 0.65 | 740 |  | 6.7 |  | 488 | 29.2 |  |  | 0.69 | 470 |  | 6.5 |  | 490 | 28.1 |  |  | 0.73 | 560 |  | 6.4 |  | 493 | 27.9 |  |  | 0.95 | 560 |  | 6.8
sous No
well No | 11 | Sigueneau | 550 | 28.5 |  |  | 0.61 | 480 |  | 28.5 |  | 551 | 28.5 |  |  | 0.63 | 470 |  | 6.3 |  | 551 | 28.5 |  |  | 0.68 | 760 |  | 6.4 |  | 550 | 27.8 |  |  | 1.09 | 800 |  | 6.7
sous No

## DES
Desanm |  |  | 2021-12-04 | [8 empty] | 2021-12-11 | [8 empty] | 2021-12-18 | [8 empty] | 2021-12-24
type |  |  | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP | dlo nivo | tanperat | presyon barometric | oksijen (DO) | Specific konduct electric | TDS | salinite | pH | ORP
vale |  |  | in | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV |  | C | mmHg | > 5.0 mg/L | 0.05 - 2 mS/cm | < 500 mg/L | < 35 PSU [g/kg] | ~7 | 300 - 500 mV
well No | 1 | Rue Levandiere | 80 | 28.1 |  |  | 1.56 | 1090 |  | 6.4 |  | 88 | 27.7 |  |  | 1.7 | 1690 |  | 6.6 |  | 91 | 27.3 |  |  | 1.63 | 1230 |  | 6.6
sous No
well No | 2 | Beloc/Lavaud | 66 | 27.2 |  |  | 1.44 | 1770 |  | 6.6 |  | 70 | 25.8 |  |  | 1.45 | 1490 |  | 6.8 |  | 72 | 25.6 |  |  | 1.47 | 1260 |  | 6.8
sous No
well No | 3 | Petit Harpon | 183 | 26 |  |  | 1.95 | 1610 |  | 7 |  | 187 | 25.1 |  |  | 1.83 | 1610 |  | 7.1 |  | 192 | 24.8 |  |  | 1.86 | 1230 |  | 7
sous No
well No | 4 | Carrefur Dufort | 210 | 27.2 |  |  | 1.21 | 890 |  | 6.6 |  | 214 | 27 |  |  | 10.25 | 1320 |  | 6.6 |  | 214 | 27.4 |  |  | 1.1 | 1190 |  | 6.7
sous No
well No | 5 | Bernard
sous No
well No | 6 | Morel | 91 | 28.6 |  |  | 1.2 | 870 |  | 6.5 |  | 95 | 28.4 |  |  | 1.24 | 1330 |  | 6.7 |  | 96 | 28.1 |  |  | 1.17 | 1440 |  | 6.7
sous No
well No | 7 | Rte Darbonne | 489 | 28 |  |  | 0,95 | 400 |  | 6.8 |  | 489 | 28.1 |  |  | 0.95 | 850 |  | 6.5 |  | 495 | 27.9 |  |  | 0.54 | 410 |  | 6.5
sous No
well No | 8 | Rte Belvald | 68 | 27.8 |  |  | 0.95 | 650 |  | 6.5 |  | 74 | 25.7 |  |  | 0.95 | 1000 |  | 6.8 |  | 74 | 26.4 |  |  | 0.83 | 570 |  | 7
sous No
well No | 9 | Rte De Bire | 178 | 28.1 |  |  | 0.9 | 490 |  | 7 |  | 180 | 27.8 |  |  | 0.67 | 930 |  | 6.2 |  | 182 | 27.5 |  |  | 0.77 | 390 |  | 6.7
sous No
well No | 10 | Douane | 495 | 28 |  |  | 0.93 | 490 |  | 6.8 |  | 498 | 27.9 |  |  | 1.06 | 1180 |  | 6,8 |  | 501 | 28.1 |  |  | 0.77 | 500 |  | 7.1
sous No
well No | 11 | Sigueneau | 554 | 28 |  |  | 0.88 | 550 |  | 6.5 |  | 559 | 28.1 |  |  | 1.05 | 1490 |  | 6.5 |  | 563 | 27.7 |  |  | 0.77 | 520 |  | 6.6
sous No